## Indore
M.P.P.K.V.V.Co. Ltd. Indore
Sub Station wise Capacity for injection of renewable energy under component A of Kusum scheme
S.No. | NAME OF CIRCLE | Name of village | NAME OF CONNECTED33/11KV S/S IN ORDER FROM GIRD NEAR TO FARTHER |  |  | CAPACITY & LOADING OF TRANSFORMER |  |  |  |  | IS THEARE ANY SPACE FOR NEW 11KV BAY AVABLE (YES/NO) | Praposed SP injection
|  |  | NAME | LATITUDE | LONGITUDE | PTR-1 | PTR-2 | PTR-3 | PTR-4 | Total
[6 empty] | MVA | MVA | MVA | MVA | MVA |  | PTR no. | Capacity of SP in MW
1 | INDORE O&M | BANEDIA | BANEDIA | 22.8525 | 75.5668 | 5 | 3.15 |  |  | 8.15 | YES | PTR2 | 0.98113
2 | INDORE O&M | BHILBADOLI | BHILBADOLI | 22.9765 | 75.5797 | 5 |  |  |  | 5 | NO | PTR1 | 0.86792
3 | INDORE O&M | BALARIA | BALARIA | 23.0074 | 75.7387 | 5 | 5 |  |  | 10 | NO | PTR2 | 0.62264
4 | INDORE O&M | BILODA NAYTA | BILODA NAYTA | 23.0052 | 75.8701 | 5 |  |  |  | 5 | NO | PTR1 | 1.1509
5 | INDORE O&M | TARANA | TARANA | 22.9178 | 75.8543 | 5 | 5 |  |  | 10 | NO | PTR1 | 1.6981
6 | INDORE O&M | KHALKHALA | KHALKHALA | 22.9463 | 75.6876 | 5 | 3.15 |  |  | 8.15 | NO | PTR1 | 0.32075
7 | INDORE O&M | RANGWASA | RANGWASA | 22.6516 | 75.7925 | 5 | 5 |  |  | 10 | YES | PTR2 | 1.3019
8 | INDORE O&M | KHAL KHURD | KHAL KHURD | 22.1871 | 75.4599 | 3.15 |  |  |  | 3.15 | YES | PTR1 | 0.35849
9 | INDORE O&M | PANDA | PANDA | 22.6113 | 75.8035 | 10 |  |  |  | 10 | NO | PTR1 | 0.73585
10 | INDORE O&M | SEMALDA | SEMALDA | 22.2359 | 75.4188 | 5 |  |  |  | 5 | NO | PTR1 | 0.58491
11 | INDORE O&M | Dongargaon | Dongargaon | 22.5453 | 75.7323 | 3.15 |  |  |  | 3.15 | YES | PTR1 | 0.28302
12 | INDORE O&M | HASALPUR | HASALPUR | 22.4961 | 75.6348 | 5 | 5 |  |  | 10 | NO | PTR1 | 0.84906
13 | Khandwa | OldCircleOffice | OldCircleOffice | 21.8368 | 76.3285 | 8 |  |  |  | 8 | YES | PTR1 | 0.96226
14 | Khandwa | DagadKhedi | DagadKhedi | 22.0761 | 76.8323 | 3.15 | 3.15 |  |  | 6.3 | YES | PTR2 | 0.79245
15 | Khandwa | Golkheda | Golkheda | 21.9687 | 77.0525 | 3.15 |  |  |  | 3.15 | YES | PTR1 | 0.53459
16 | Khandwa | Killod | Killod | 22.182 | 76.7773 | 5 | 3.15 |  |  | 8.15 | YES | PTR1 | 1.1321
17 | Khandwa | BILANKHEDA | BILANKHEDA | 21.821 | 76.1326 | 5 |  |  |  | 5 | YES | PTR1 | 1.2579
18 | Khandwa | BhojaKhedi | BhojaKhedi | 21.8668 | 76.1937 | 5 | 3.15 |  |  | 8.15 | YES | PTR2 | 2
19 | Khandwa | DHANGAON | DHANGAON | 22.0947 | 76.1169 | 5 | 5 |  |  | 10 | YES | PTR2 | 1.2264
20 | Khandwa | Bakhargaon | Bakhargaon | 22.1386 | 76.2068 | 5 |  |  |  | 5 | YES | PTR1 | 1.2264
21 | BURHANPUR | NIMBOLA | NIMBOLA | 21.3229 | 76.2125 | 5 | 5 |  |  | 10 | NO | PTR2 | 2
22 | BURHANPUR | DABHIYAKHEDA | DABHIYAKHEDA | 21.3229 | 76.2124 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 2
23 | BURHANPUR | GORADIYA | GORADIYA | 21.3232 | 76.2124 | 5 | 3.15 |  |  | 8.15 | YES | PTR1 | 2
24 | BURHANPUR | AMBADA | AMBADA | 21.4046 | 76.379 | 5 |  |  |  | 5 | YES | PTR1 | 2
25 | BURHANPUR | JASONDI | JASONDI | 21.2177 | 76.4145 | 5 |  |  |  | 5 | YES | PTR1 | 2
26 | BURHANPUR | NIMANDAD | NIMANDAD | 21.3229 | 76.2124 | 5 |  |  |  | 5 | YES | PTR1 | 2
27 | BURHANPUR | DOIFODIYA | DOIFODIYA | 21.3229 | 76.2124 | 5 |  |  |  | 5 | YES | PTR1 | 2
28 | BURHANPUR | PHOPNAR | PHOPNAR | 21.3231907/ | 76.2124 | 3.15 | 3.15 | 5 | 5 | 16.3 | NO | PTR4 | 2
29 | BURHANPUR | ICHHAPUR | ICHHAPUR | 21.3228 | 76.2125 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 2
30 | BURHANPUR | CHAPORA | CHAPORA | 21.3229 | 76.2125 | 5 | 5 | 5 |  | 15 | NO | PTR1 | 2
31 | KHARGONE | BAMANDI | BAMANDI | 75.5342 | 22.0708 | 5 | 3.15 |  |  | 8.15 | YES | PTR4 | 0.4717
32 | KHARGONE | MARDANA | MARDANA | 75.8191 | 22.1741 | 5 | 3.15 |  |  | 8.15 | YES | PTR1 | 0.9434
33 | KHARGONE | BAGOD | BAGOD | 75.8687 | 22.3205 | 5 | 5 | 5 |  | 15 | NO | PTR1 | 0.41509
34 | KHARGONE | BAHEGAON | BAHEGAON | 75.2208 | 22.1888 | 3.15 | 3.15 |  |  | 6.3 | YES | PTR1 | 1.5849
35 | KHARGONE | BANGARDA | BANGARDA | 76.1731 | 22.1047 | 3.15 | 3.15 |  |  | 6.3 | YES | PTR1 | 0.37736
36 | KHARGONE | SELDA | SELDA | 75.8452 | 21.7924 | 5 |  |  |  | 5 | YES | PTR1 | 0.26415
37 | KHARGONE | KATKUT | KATKUT | 76.1101 | 22.409 | 5 |  |  |  | 5 | YES | PTR1 | 0.75472
38 | KHARGONE | KHANDWA ROAD | KHANDWA ROAD | 75.622 | 21.8253 | 5 |  |  |  | 5 | NO | PTR1 | 2
39 | KHARGONE | BAMKHAL | BAMKHAL | 75.6566 | 21.9428 | 5 | 5 |  |  | 10 | YES | PTR2 | 0.56604
40 | KHARGONE | THIBGAON | THIBGAON | 75.6962 | 21.8916 | 5 |  |  |  | 5 | YES | PTR1 | 0.84906
41 | KHARGONE | SILOTIYA | SILOTIYA | 75.4748 | 21.7161 | 3.15 |  |  |  | 3.15 | YES | PTR1 | 0.37736
42 | KHARGONE | BHASAWAD | BHASAWAD | 75.4455 | 22.0264 | 5 |  |  |  | 5 | YES | PTR1 | 0.13208
43 | KHARGONE | MOTAPURA | MOTAPURA | 75.4597 | 21.9428 | 5 |  |  |  | 5 | YES | PTR1 | 0.28302
44 | KHARGONE | MOGARGAON | MOGARGAON | 75.8194 | 21.6984 | 5 | 5 |  |  | 10 | YES | PTR1 | 0.28302
45 | KHARGONE | OON | OON | 75.4563 | 21.8267 | 5 | 5 |  |  | 10 | NO | PTR1 | 0.28302
46 | KHARGONE | KHAMKHEDA | KHAMKHEDA | 75.7411 | 22.0444 | 5 | 3.15 |  |  | 8.15 | YES | PTR1 | 0.75472
47 | KHARGONE | GOGAWA | GOGAWA | 75.7367 | 21.9135 | 5 | 5 | 5 |  | 15 | NO | PTR1 | 1.8868
48 | KHARGONE | ANJANGAON | ANJANGAON | 75.9768 | 21.9659 | 5 | 5 |  |  | 10 | YES | PTR2 | 0.9434
49 | KHARGONE | PHOKAR | PHOKAR | 75.5805 | 21.927 | 5 |  |  |  | 5 | YES | PTR1 | 0.58491
50 | KHARGONE | CHIRIYA | CHIRIYA | 75.8923 | 21.6029 | 5 |  |  |  | 5 | YES | PTR1 | 1.1321
51 | KHARGONE | DHANWA | DHANWA | 76.0037 | 21.6902 | 5 | 5 |  |  | 10 | YES | PTR1 | 0.5283
52 | KHARGONE | SAGUR | SAGUR | 75.8213 | 21.8612 | 5 |  |  |  | 5 | NO | PTR1 | 0.56604
53 | KHARGONE | JAMLI | JAMLI | 76.0248 | 21.6398 | 5 |  |  |  | 5 | YES | PTR1 | 0.4717
54 | KHARGONE | KANAPUR | KANAPUR | 75.8556 | 22.1248 | 5 | 5 |  |  | 10 | NO | PTR2 | 0.37736
55 | KHARGONE | BEDIYA | BEDIYA | 75.9457 | 22.0916 | 5 | 5 | 5 | 5 | 20 | NO | PTR2 | 1.1321
56 | KHARGONE | BHANGAON | BHANGAON | 75.6769 | 22.0321 | 5 |  |  |  | 5 | YES | PTR1 | 0.37736
57 | KHARGONE | MALGAON | MALGAON | 76.1558 | 22.0897 | 3.15 |  |  |  | 3.15 | YES | PTR1 | 0.28302
58 | BARWANI | Pokhaliya | Pokhaliya | NEW S/S | NEW S/S | 5 |  |  |  | 5 | NO | PTR1 | 0.18868
59 | BARWANI | Taloon | Taloon | 22.030626, | 74.9753 | 3.15 | 5 |  |  | 8.15 | NO | PTR1 | 0.28302
60 | BARWANI | Rajpur | Rajpur | 21.945931, | 75.1296 | 3.15 | 5 | 5 |  | 13.15 | NO | PTR3 | 2
61 | BARWANI | Dhanora | Dhanora | 21.613945, | 75.2341 | 5 | 5 |  |  | 10 | YES | PTR1 | 0.88679
62 | BARWANI | Jainpipe | Jainpipe | 21.706968, | 21.707 | 5 | 3.15 |  |  | 8.15 | NO | PTR1 | 2
63 | BARWANI | Palsood | Palsood | 21.828319, | 74.9643 | 5 | 5 | 5 |  | 15 | NO | PTR1 | 2
64 | BARWANI | Menimata | Menimata | 21.824363, | 74.8895 | 5 |  |  |  | 5 | YES | PTR1 | 1.6604
65 | BARWANI | New Dondwada | New Dondwada | 21.769 | ,75.036187 | 3.15 | 3.15 |  |  | 6.3 | NO | PTR1 | 0.84906
66 | BARWANI | KANPURI | KANPURI | 21°39'35.6"N | 74°57'18.4"E | 5 |  |  |  | 5 | YES | PTR1 | 0.88679
67 | DHAR | PANDA | PANDA | 22.7825 | 75.172 | 5 |  |  |  | 5 | YES | PTR2 | 1.8491
68 | DHAR | BHAMAKHEDI | BHAMAKHEDI | 22.9646 | 75.2072 | 5 |  |  |  | 5 | YES | PTR3 | 1.1321
69 | DHAR | TAKRAWDA | TAKRAWDA | 22.7299 | 75.2032 | 5 |  |  |  | 5 | NO | PTR4 | 2
70 | DHAR | PALWADA | PALWADA | 22.8268 | 75.3219 | 5 |  |  |  | 5 | NO | PTR1 | 2
71 | DHAR | NANDLAI | NANDLAI | 22.9599 | 75.0978 | 5 |  |  |  | 5 | YES | PTR1 | 2
72 | DHAR | HANUMANTIYA | HANUMANTIYA | 22.9997 | 75.153 | 3.15 | 3.15 |  |  | 6.3 | NO | PTR1 | 1.3962
73 | DHAR | DHOLANA | DHOLANA | 23.0528 | 75.3237 | 5 | 5 | 5 |  | 15 | NO | PTR2 | 2
74 | DHAR | KUNJROD | KUNJROD | 22.4998 | 75.5422 | 5 | 5 |  |  | 10 | NO | PTR1 | 2
75 | DHAR | KHACHRODA | KHACHRODA | 22.8626 | 75.4053 | 3.15 | 5 |  |  | 8.15 | NO | PTR2 | 2
76 | DHAR | HARSORA | HARSORA | 22.7272 | 75.4199 | 5 | 5 |  |  | 10 | NO | PTR2 | 2
77 | DHAR | SATIPURA | SATIPURA | 22.4489 | 75.1808 | 5 |  |  |  | 5 | YES | PTR1 | 2
78 | DHAR | NARAYANPURA | NARAYANPURA | 22.6034 | 75.471 | 5 |  |  |  | 5 | NO | PTR1 | 2
79 | DHAR | PACHLANA | PACHLANA | 22.6893 | 75.2625 | 5 | 5 |  |  | 10 | NO | PTR1 | 2
80 | DHAR | LOHARI | LOHARI | 22.2118 | 74.915 | 5 | 5 |  |  | 10 | YES | PTR2 | 2
81 | DHAR | BHAMORI | BHAMORI | 22.3468 | 74.8683 | 5 |  |  |  | 5 | YES | PTR1 | 2
82 | DHAR | PIPLIYA | PIPLIYA | 22.1352 | 75.8655 | 5 | 5 |  |  | 10 | YES | PTR1 | 2
83 | DHAR | GHANA(KAWDA) | GHANA(KAWDA) | 22.102 | 74.538 | 5 |  |  |  | 5 | YES | PTR1 | 1.4717
84 | DHAR | MOGRA | MOGRA | 22.2787 | 74.6894 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 1.8113
85 | DHAR | DOGAVA | DOGAVA | 22.1254 | 74.7396 | 5 | 5 |  |  | 10 | YES | PTR2 | 2
86 | DHAR | AJANDA | AJANDA | 22.1384 | 75.1253 | 5 | 5 |  |  | 10 | NO | PTR1 | 1.9623
87 | DHAR | LUNERA BUJURG | LUNERA BUJURG | 22.2182 | 75.2313 | 5 |  |  |  | 5 | YES | PTR1 | 2
88 | DHAR | AWALDA | AWALDA | 22.3314 | 75.0767 | 5 |  |  |  | 5 | YES | PTR1 | 1.4906
89 | DHAR | KHANDLAI | KHANDLAI | 22.3262 | 75.1486 | 5 |  |  |  | 5 | YES | PTR1 | 1.3962
90 | DHAR | SINGHANA | SINGHANA | 22.19 | 74.97 | 5 | 5 |  |  | 10 | YES | PTR2 | 2
91 | DHAR | LABRIYA | LABRIYA | 22.8634 | 75.0436 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 2
92 | DHAR | BHARAWADA | BHARAWADA | 22.6879 | 75.1431 | 5 |  |  |  | 5 | YES | PTR1 | 1.2075
93 | DHAR | BHANGARTH | BHANGARTH | 22.7393 | 74.9618 | 5 | 3.15 |  |  | 8.15 | YES | PTR1 | 1.8113
94 | DHAR | GUMANPURA | GUMANPURA | 22.5848 | 74.8703 | 5 |  |  |  | 5 | YES | PTR1 | 2
95 | Jhabua | Badihirdi | Badihirdi | 22.6979 | 74.7318 | 5 |  |  |  | 5 | Yes | PTR1 | 0.26415
96 | Jhabua | Para | Para | 22.641309 | 74.664472 | 5 | 5 | 5 |  | 15 | Yes | PTR1 | 0.60377
97 | Jhabua | Ban | Ban | 22.596429 | 74.526759 | 5 |  |  |  | 5 | Yes | PTR1 | 0.18868
98 | Jhabua | Sujapura | Sujapura | 23.057540 | 74.618666 | 5 | 3.15 |  |  | 8.15 | Yes | PTR2 | 0.50943
99 | Jhabua | Bodayta | Bodayta | 23.013432 | 74.943578 | 5 |  |  |  | 5 | Yes | PTR1 | 0.50943
100 | Jhabua | Khawasa | Khawasa | 23.110354 | 74.722949 | 5 | 5 | 3.15 |  | 13.15 | Yes | PTR2 | 0.30189
101 | Jhabua | Mohankot | Mohankot | 22.9197 | 74.7639 | 5 |  |  |  | 5 | Yes | PTR1 | 0.075472
102 | Jhabua | Bolasa | Bolasa | 22.8709 | 74.8852 | 3.15 | 3.15 |  |  | 6.3 | Yes | PTR2 | 0.13208
103 | Jhabua | Bori | Bori | 22.518733 | 74.703117 | 5 | 3.15 |  |  | 8.15 | Yes | PTR1 | 0.32075
104 | Jhabua | Undwa | Undwa | 22.344772 | 74.397879 | 5 |  |  |  | 5 | Yes | PTR1 | 0.43396
105 | Jhabua | Badi Khattali | Badi Khattali | 22.3517 | 74.5266 | 5 |  |  |  | 5 | Yes | PTR1 | 0.30189
106 | Jhabua | Sejawada | Sejawada | 22.604144 | 74.343541 | 5 |  |  |  | 5 | Yes | PTR1 | 0.22642
107 | Jhabua | FOOLMAL | FOOLMAL | 22.1886 | 74.1386 | 5 |  |  |  | 5 | Yes | PTR1 | 0.22642
108 | NEEMUCH | GIRDOUDA | GIRDOUDA | N24°46.19.097 | E°74.94.57.525 | 5 | 0 | 0 |  | 5 | YES | PTR1 | 0.9434
109 | NEEMUCH | JAVI | JAVI | N24°31'26.01" | E074°58'22.78" 255 | 3.15 | 3.15 | 0 |  | 6.3 | NO | PTR2 | 0.56604
110 | NEEMUCH | DHANERIYA | DHANERIYA | N24°27'46.39" | E074°50'03.98" 255 | 5 | 3.15 | 0 |  | 8.15 | NO | PTR2 | 0.4717
111 | NEEMUCH | CHITA KHEDA | CHITA KHEDA | N24°20'21.62" | E074°49'24.53" 009 | 5 | 5 | 0 |  | 10 | NO | PTR1 | 1.1321
112 | NEEMUCH | UMMEDPURA | UMMEDPURA | N24°37'32.88" | E076°15'21.16" 255 | 5 | 0 | 0 |  | 5 | YES | PTR1 | 0.4717
113 | NEEMUCH | PARLAI | PARLAI | N24°51'16.87" | E075°15'02.96" 255 | 3.15 | 0 | 0 |  | 3.15 | YES | PTR1 | 0.37736
114 | NEEMUCH | DEORI KHAWASA | DEORI KHAWASA | N24°36.53.924 | E75°15.36.857 | 5 | 0 | 0 |  | 5 | YES | PTR1 | 0.4717
115 | NEEMUCH | KANJARDA | KANJARDA | N24°39'01.02" | E075°11'52.27" 255 | 5 | 5 | 0 |  | 10 | YES | PTR1 | 0.75472
116 | NEEMUCH | BARLAI | BARLAI | N24°25'43.62" | E075°19'14.72" 009 | 5 | 5 | 0 |  | 10 | NO | PTR1 | 0.9434
117 | NEEMUCH | DUDHLAI | DUDHLAI | N24.4693538 | E75.4019454 | 5 | 0 | 0 |  | 5 | YES | PTR1 | 1.0377
118 | NEEMUCH | BHAMORA | BHAMORA | N24°25'37.40" | E074°44'54.01" 009 | 5 | 0 | 0 |  | 5 | YES | PTR1 | 0.75472
119 | NEEMUCH | MORWAN | MORWAN | USER -- N24°37'27.31" | E075°00'02.44" 255 Waypoint | 5 | 5 | 0 |  | 10 | NO | PTR1 | 0.84906
120 | NEEMUCH | DOODH TALAI | DOODH TALAI | USER -- N24°41'05.03" | E075°03'12.51" 255 Waypoint | 5 | 5 | 0 |  | 10 | NO | PTR1 | 0.4717
121 | NEEMUCH | DEEKEN | DEEKEN | USER -- N24°42'55.03" | E075°05'56.08" 255 Waypoint | 5 | 5 | 0 |  | 10 | NO | PTR1 | 0.66038
122 | NEEMUCH | JAT | JAT | USER -- N24°50'35.49" | E074°56'27.69" 255 Waypoint | 5 | 3.15 | 5 |  | 13.15 | NO | PTR1 | 0.84906
123 | NEEMUCH | LASOOR | LASOOR | USER -- N24°34'59.92" | E075°03'56.01" 255 Waypoint | 5 | 3.15 | 0 |  | 8.15 | NO | PTR1 | 1.1321
124 | RATLAM | BILPANK | BILPANK | N23°13'39.26" | E075°08'20.89" | 5 | 5 | 5 |  | 15 | NO | PTR1 | 0.18868
125 | RATLAM | RAJAPURA MATAJI | RAJAPURA MATAJI | N23°21'11.624" | E074°44'11.878" | 5 |  |  |  | 5 | NO | PTR1 | 0.09434
126 | RATLAM | PALDUNA | PALDUNA | N23.324406 | E075.040852 | 5 |  |  |  | 5 | YES | PTR1 | 0.11321
127 | RATLAM | NAMLI | NAMLI | N23°27'10.62" | E075°03'40.36" | 5 | 5 | 5 |  | 15 | NO | PTR1 | 0.32075
128 | RATLAM | SARWAN | SARWAN | N23°29'01.03" | E074°49'32.14" | 5 | 5 |  |  | 10 | NO | PTR1 | 0.35849
129 | RATLAM | RAOTI | RAOTI | N23°13'47.00" | E074°50'38.29" | 5 | 5 | 8 |  | 18 | NO | PTR3 | 0.90566
130 | RATLAM | SHIVGRAH | SHIVGRAH | N23°20'43.37" | E074°52'21.55" | 5 | 5 | 5 |  | 15 | NO | PTR2 | 0.33962
131 | RATLAM | SARWAD | SARWAD | N23.334178 | E075.04033 | 5 |  |  |  | 5 | YES | PTR1 | 0.11321
132 | RATLAM | TRIVENI | TRIVENI | N23°18'34.608" | E075°1'49.328" | 5 | 5 | 5 |  | 15 | YES | PTR3 | 0.75472
133 | RATLAM | SHERPUR | SHERPUR | N23°32'28.778" | E074°54'19.698" | 5 | 5 |  |  | 10 | NO | PTR2 | 0.37736
134 | RATLAM | UPLAI | UPLAI | N23°34'57.49" | E075°09'06.97" | 5 | 5 | 5 |  | 15 | YES | PTR3 | 0.16981
135 | RATLAM | TALNAKA | TALNAKA | N23°38'53.9340" | E075°08'45.3120" | 5 |  |  |  | 5 | YES | PTR1 | 0.075472
136 | RATLAM | BADAYALA CHORASI | BADAYALA CHORASI | N23°32'55.9932" | E075°04'42.7584" | 5 | 5 |  |  | 10 | YES | PTR1 | 0.16981
137 | RATLAM | PIPLODA | PIPLODA | N23°36'07.02" | E074°56'49.10" | 5 | 5 | 5 |  | 15 | YES | PTR3 | 0.075472
138 | RATLAM | RINGNOD | RINGNOD | N23°44'26.57" | E075°10'44.87" | 5 | 5 | 5 |  | 15 | NO | PTR2 | 0.15094
139 | RATLAM | LASUDIYA JANGLI | LASUDIYA JANGLI | N23°36'58.362" | E075°13'38.951" | 5 |  |  |  | 5 | NO | PTR1 | 0.075472
140 | RATLAM | BARDIYA RATHORE | BARDIYA RATHORE | N23.334312 | E075.040332 | 5 |  |  |  | 5 | yes | PTR1 | 0.075472
141 | RATLAM | MALAKHEDA | MALAKHEDA | N23°41'11.49" | E075°26'52.00" | 5 |  |  |  | 5 | yes | PTR1 | 0.15094
142 | RATLAM | MINAWADA | MINAWADA | N23°32'27.082" | E075°28'20.427" | 5 |  |  |  | 5 | yes | PTR1 | 0.056604
143 | MANDSAUR | RISHIYANAND | RISHIYANAND | 24.0742 | 75.0311 | 5 | 5 |  |  | 10 | YES | PTR1 | 1.3208
144 | MANDSAUR | AFJALPUR | AFJALPUR | 23.9838 | 75.2266 | 3.15 | 5 |  |  | 8.15 | YES | PTR1 | 0.56604
145 | MANDSAUR | JAWASIYA | JAWASIYA | 23.9681 | 74.999 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 0.37736
146 | MANDSAUR | PALIYA MARU | PALIYA MARU | 24.1418 | 75.197 | 5 |  |  |  | 5 | YES | PTR1 | 0.35849
147 | MANDSAUR | SEMLIYA HEERA | SEMLIYA HEERA | 23.9219 | 75.0384 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 1.1321
148 | MANDSAUR | KUCHROD | KUCHROD | 23.8956 | 75.2586 | 3.15 | 5 | 5 |  | 13.15 | YES | PTR2 | 0.9434
149 | MANDSAUR | ZARDA | ZARDA | 24.3305 | 75.1038 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 1.1321
150 | MANDSAUR | KURAWAN | KURAWAN | 24.1647 | 75.5525 | 5 |  |  |  | 5 | YES | PTR1 | 0.4717
151 | MANDSAUR | PARASALI | PARASALI | 24.1536 | 75.7202 | 3.15 | 3.15 |  |  | 6.3 | YES | PTR2 | 0.37736
152 | MANDSAUR | DALMOO | DALMOO | 24.3189 | 75.4929 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 0.4717
153 | MANDSAUR | KANWLA | KANWLA | 24.3192 | 75.3983 | 5 |  |  |  | 5 | YES | PTR1 | 0.9434
154 | MANDSAUR | RANAYRA | RANAYRA | 24,10,46 | 75,19,43 | 5 |  |  |  | 5 | YES | PTR1 | 0.66038
155 | MANDSAUR | TITROD | TITROD | 24,01,11 | 75,25,15 | 3.15 | 5 |  |  | 8.15 | NO | PTR2 | 0.84906
156 | AGAR | 4. CHANANDGAON | CHANANDGAON | 76.1858 | 23.6009 | 5 |  |  |  | 5 | NO | PTR1 | 1.4151
157 | AGAR | JAISINGHPURA | JAISINGHPURA | 75.9101 | 23.8186 | 5 | 5 | 3.15 |  | 13.15 | YES | PTR2 | 2
158 | AGAR | 2. TANODIYA | TANODIYA | 75.9514 | 23.6018 | 5 | 5 | 3.15 |  | 13.15 | NO | PTR3 | 1.0377
159 | AGAR | PIPLON KALAN | PIPLON KALAN | 75.8798 | 23.6321 | 5 | 5 |  |  | 10 | YES | PTR2 | 1.3208
160 | AGAR | 1. BAROD | BAROD | 75.8023 | 23.7775 | 5 | 5 | 3.15 |  | 13.15 | YES | PTR2 | 2
161 | AGAR | TAKHLA | TAKHLA | 76.2596 | 23.9721 | 5 |  |  |  | 5 | YES | PTR1 | 0.9434
162 | AGAR | DONGARGAON | DONGARGAON | 76.1678 | 24.2446 | 5 | 5 |  |  | 10 | NO | PTR1 | 1.6981
163 | AGAR | DEHRIYA SOYAT | DEHRIYA SOYAT | 76.1519 | 24.089 | 5 |  |  |  | 5 | YES | PTR1 | 0.9434
164 | AGAR | LASULDIYA KELWA | LASULDIYA KELWA | 76.1955 | 23.8440278, | 5 | 3.15 |  |  | 8.15 | NO | PTR2 | 0.9434
165 | AGAR | BADAGAON | BADAGAON | 76.3158 | 23.7328 | 5 | 3.15 |  |  | 8.15 | NO | PTR1 | 0.56604
166 | UJJAIN | BADKUMMED | BADKUMMED | 23.1427 | 75.8847 | 5 | 3.15 |  |  | 8.15 | NO | PTR2 | 1.3585
167 | UJJAIN | PIPLIYA RAGHO | PIPLIYA RAGHO | 23.0918 | 75.7911 | 5 | 5 |  |  | 10 | NO | PTR2 | 1.1132
168 | UJJAIN | CHANDUKHEDI | CHANDUKHEDI | 23.392 | 75.923 | 5 | 5 | 5 |  | 15 | NO | PTR1 | 2
169 | UJJAIN | PIPLIAHAMA | PIPLIAHAMA | 23.354 | 75.6703 | 5 |  |  |  | 5 | YES | PTR1 | 0.92453
170 | UJJAIN | PAT | PAT | 23.5523 | 75.9002 | 3.15 | 5 |  |  | 8.15 | NO | PTR1 | 1.5283
171 | UJJAIN | GHATIYA | GHATIYA | 75.8608 | 32.377 | 3.15 | 5 | 3.15 |  | 11.3 | NO | PTR2 | 1.1509
172 | UJJAIN | BICHROD | BICHROD | 75.952 | 23.3296 | 5 | 5 |  |  | 10 | NO | PTR2 | 1.283
173 | UJJAIN | KHEDAKHAJURIYA | KHEDAKHAJURIYA | 23.4669 | 75.7965 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 2
174 | UJJAIN | SIJAWATA | SIJAWATA | 23.1596 | 75.4879 | 5 | 5 |  |  | 10 | YES | PTR1 | 2
175 | UJJAIN | KHARSOD KALA | KHARSOD KALA | 23.2243 | 75.3842 | 8 | 5 |  |  | 13 | NO | PTR1 | 2
176 | UJJAIN | PIPLU | PIPLU | 22.8829 | 75.3948 | 5 | 5 |  |  | 10 | NO | PTR2 | 1.8679
177 | UJJAIN | RUNIJA | RUNIJA | 23.1593 | 75.2602 | 5 | 5 |  |  | 10 | NO | PTR1 | 2
178 | UJJAIN | SANDLA | SANDLA | 23.31 | 75.395 | 5 |  |  |  | 5 | YES | PTR1 | 2
179 | UJJAIN | RUPETA | RUPETA | 23.4955 | 75.463 | 5 | 5 |  |  | 10 | NO | PTR2 | 2
180 | UJJAIN | BEDAWAN, | BEDAWAN, | 23.3837 | 75.5501 | 3.15 | 3.15 |  |  | 6.3 | NO | PTR2 | 2
181 | UJJAIN | MOHNA | MOHNA | 23.4438 | 75.5421 | 5 |  |  |  | 5 | YES | PTR1 | 2
182 | UJJAIN | MAHIDPUR ROAD , | MAHIDPUR ROAD , | 23.5629 | 75.502 | 5 | 5 | 5 |  | 15 | NO | PTR2 | 2
183 | UJJAIN | RUDRAKHEDA | RUDRAKHEDA | 23.4821 | 75.6252 | 3.15 | 3.15 |  |  | 6.3 | NO | PTR2 | 2
184 | UJJAIN | PETLAWAD | PETLAWAD | 23.6268 | 75.5775 | 5 |  |  |  | 5 | YES | PTR1 | 2
185 | UJJAIN | KHARPA | KHARPA | 23.2819 | 76.0176 | 5 |  |  |  | 5 | YES | PTR1 | 2
186 | UJJAIN | KAITHA | KAITHA | 23.2321 | 76.026 | 5 | 5 |  |  | 10 | NO | PTR1 | 2
187 | UJJAIN | MAKDON | MAKDON | 23.5017 | 76.0708 | 8 | 3.15 | 5 | 5 | 21.15 | YES | PTR1 | 2
188 | UJJAIN | DHABLAHARDU | DHABLAHARDU | 75.8951 | 23.4987 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 2
189 | UJJAIN | NAINAWAD | NAINAWAD | 23.3741 | 76.219 | 5 | 3.15 | 3.15 |  | 11.3 | NO | PTR1 | 2
190 | UJJAIN | KILODIYA | KILODIYA | 23.5083 | 75.3675 | 3.15 | 3.15 |  |  | 6.3 | NO | PTR2 | 2
191 | UJJAIN | RAMATALAI | RAMATALAI | 23.3689 | 75.1231 | 5 |  |  |  | 5 | YES | PTR1 | 2
192 | UJJAIN | RUNKHEDA | RUNKHEDA | 23.4163 | 75.1881 | 3.15 | 5 |  |  | 8.15 | YES | PTR2 | 2
193 | UJJAIN | NARSINGH GADH | NARSINGH GADH | 23.3743 | 75.2326 | 5 |  |  |  | 5 | YES | PTR1 | 2
194 | UJJAIN | KANWAS | KANWAS | 23.4021 | 75.2068 | 5 | 5 |  |  | 10 | YES | PTR1 | 2
195 | UJJAIN | BATLAWADI | BATLAWADI | 23.4581 | 75.2218 | 5 | 5 |  |  | 10 | NO | PTR1 | 2
196 | UJJAIN | kaluheda | kaluheda | 23.3446 | 75.7131 | 5 |  |  |  | 5 | NO | PTR1 | 0.66038
197 | UJJAIN | SIDDHWAT | SIDDHWAT | 23.2258 | 75.7764 | 8 | 5 |  |  | 13 | NO | PTR2 | 0.09434
198 | UJJAIN | JAITHAL | JAITHAL | 75.824 | 23.2819 | 5 | 5 | 5 |  | 15 | NO | PTR2 | 2
199 | UJJAIN | KAMED | KAMED | 75.798 | 23.2303 | 8 | 5 |  |  | 13 | NO | PTR1 | 1.5283
200 | UJJAIN | GURLA | GURLA | 23.2972 | 75.5424 | 5 | 3.15 |  |  | 8.15 | YES | PTR1 | 2
224.3208