## Sheet1
Ministry of New and Renewable Energy |  |  |  | Ministry of New and Renewable Energy
Government of India | [8 empty] | Gover
Wind Energy Division
Wind Turbine Models included in the RLMM after declaration of new procedure (i.e 01 November 2018)
As on 28.09.2020
S. No | Manufacturing Company with contact details | Company Incorporation Details |  | License/ Collaboration/ Joint Venture | Model Name | Rotor Dia (RD) (m) | Hub Height (HH) (m) | Tower Type | Capacity (kW) | Type Certificate |  |  |  | Manufacturing system Certificate / ISO Certificate
|  | Date | Document | [6 empty] | According to | Any Outstanding Issues | Validity till | Document | According to | Validity till | Document
1 | M/s. Regen Powertech Private Limited Sivanandam, 1st Floor, New No. 1, Pulla Avenue, Shenoy Nagar, Chennai, Tamil Nadu - 600030 Phone:044-42966200 Fax :044-42966298/99 Email: Info@regenpowertech.com | 2006-12-27 | Regen CoI | VENSYS Energy AG, Germany | VENSYS 116 | 116.1 | 90 | Tubular Steel | 2000 ($$) | S-Class/Turbulance B-Class (GL 2010/IEC 61400-1:1999) | No | 2021-11-07 | Vensys 116 TC | ISO: 9001 : 2015 | 2023-04-29 | Regen ISO
2 |  |  |  |  | VENSYS 87 | 86.6 | 85 | Tubular Steel | 1500 | IEC Class III B (GL 2010) | No | 2022-01-26 | Vensys 87 TC
3 | M/s Envision Wind Power Technologies India (Pvt.) Ltd., Level 9, Platina, C-59, G Block, BKC, Bandra East, Mumbai-400051 Tel: 022-67000988 / 080-61296200, Fax: 022-67000600 Email: inder.bhambra@envision-energy.com, kane.xu@envisioncn.com | 2016-07-12 | Envision CoI | Envision Energy(JIANGSU) Co., Ltd., China | EN 115 2.3 MW IEC IIIA | 115.9 | 90.32 | Tubular Steel | 2300 | IEC Class III A (GL/ IEC 61400-22:2010) | No | 2021-11-09 | Envision EN 115 TC | ISO: 9001: 2015 | 2021-05-01 | Envision ISO
4 |  |  |  |  | Envision EN2.5-131 50Hz IEC S HH120 | 131 | 100 / 120 | Tubular Steel | 2500 | IEC 61400-22:2010 | No | 2023-07-11 | Envision EN 131 TC
5 | M/s. GE India Industrial Private Limited Division: Wind Energy 601, 6th Floor, Tower B, RMZ Infinity, Old Madras Road, Bangalore - 560 016 Phone: 080-40482387 Fax: 080-40482341 email:Anand.Revankar@ge.com | 2009-09-25 | GE CoI | General Electric Renewables, Espana, S.L. | GE 2.3-116, LM56.9, GE56.9,HH 94m, 50 Hz | 116 | 94 | Tubular Steel | 2330 | IEC S Class (IEC 61400-22:2010) | No | 2021-03-16 | GE 2.3-116 TC | ISO 9001: 2015 | 2023-03-05 | GE ISO
6 |  |  |  |  | GE 2.4-116, LM56.9P, HH 94m, 50 Hz | 116 | 94 | Tubular Steel | 2430 | IEC S Class (IEC 61400-22:2010) | No | 2022-08-08 | GE 2.4-116 TC
7 |  |  |  |  | GE 2.5-132, GE64.5 / LM64.6P, HH94 & 130m, 50Hz IEC S (STW / CWE) | 132 | 130 / 94 | Tubular Steel | 2530 | IEC S Class (IEC 61400-22:2010) | No | 2024-05-30 | GE2.5-132TC
8 |  |  |  |  | GE 2.7 - 132 | 132 | 130 / 94 | Tubular Steel | 2730 | IEC S Class (IEC 61400-22:2010) | No | 2024-09-23 | GE2.7-132TC
9 | M/s. Suzlon Energy Limited Tree Lounge, L-1, Left wing, One Earth, Opp. Magarpatta City Hadapsar Pune - 411028. Phone: 020-401250009 Fax : 020-67022200 email:rchandra@suzlon.com | 1995-04-10 | Suzlon CoI | Nil | SUZLON S111 DFIG 2.1 MW (50 Hz) | 111.8 | 90/120/140 | HH 90m–Tubular Steel & HH 120/140 m - Hybrid Lattice Tower | 2100(*)(**) | IEC IIIA/ IEC S (STV, HTV, HTV (Light)) Class (IEC 61400-22:2010) | No | 2021-03-17 | S111 DFIG 2.1MW TC | ISO 9001: 2015 | 2021-02-20 | Suzlon ISO
10 |  |  |  |  | SUZLON S120 DFIG 2.1 MW (50 Hz) | 120 | 105/140 | HH 105m -Tubular Steel Tower, HH 140m-Hybrid Lattice Tower | 2100 | IEC S Class (IEC 61400-22:2010) | No | 2024-02-03 | S120DFIG-TC
11 |  |  |  |  | S128 2.6 MW/ 2.8 MW | 129 | 105 / 140 | HH 105m - Tubular Steel Tower, HH 140m - Hybrid Lattice Tower | 2600/2800 | IEC S Class (IEC 61400-22:2010 and IEC 61400-1:2005 +AMD1:2010) | Yes | 2021-04-23 | S128PTC
12 | M/s. Vestas Wind Technology India Private Limited 298, Rajiv Gandhi Salai, Shollinganallur, Chennai - 600119 Phone: 044-24505100 Fax : 044-24505101 email:adaya@vestas.com | 2006-11-09 | Vestas CoI | Vestas Wind Systems A/S, Denmark | Vestas V100-2MW 50 Hz VCS Mk10 (with generator “DVSG 500/4M SP”) | 100 | 80/95 | Tubular Steel | 2000 | IEC S Class (IEC 61400-22:2010) | No | 2020-04-29 | Vestas V100-2MW 50 Hz TC | ISO 9001: 2015 | 2021-12-31 | Vestas ISO
13 |  |  |  |  | Vestas V120 2.0/2.1/2.2 MW 50Hz VCS Mk11 | 120 | 118 | Tubular Steel | 2000/2100/ 2200 | IEC S Class (IEC 61400-22:2010) | No | 2024-06-25 | VestasV120TC
14 | M/s. Inox Wind Limited Inox Towers, Plot No. 17 Sector - 16-A, Noida, Uttar Pradesh – 201301 Phone: 0120-6149708 Fax: 0120-6149610 email: prosanto.mullick@inoxwind.com | 2009-04-09 | Inox CoI | AMSC Austria GmbH, Austria | Wind Turbine Inox Wind DF/2000/113 Rotor Blade WB552-2.0 Hub Heights 92m and 120m, GL WTC IIIA | 113 | 92/120 | HH 92 m –Tubular Steel, HH 120 m – Hybrid tower with tubular steel sections and concrete bottom | 2000 | GL 2010 GL Class III A | No | 2022-11-19 | DF2000-113 TC | ISO 9001: 2015 | 2021-04-02 | Inox ISO
15 | M/s. Senvion Wind Technology Private Limited, B504, Delphi Building, Orchard Avenue, Sector No.3, Hiranadani Business Park, Hiranandani Garden, Powai, Mumbai-400076 Phone 022-71299700 Email: amit.kansal@senvion.com | 2017-02-02 | Senvion CoI | Senvion Gmbh Germany | Senvion 2.3M120 - 2300kW Rotor Blade Type - LM58.7P and LM58.7P5 HH 120m IEC WT Class S (Based on IIIB) | 120 | 120 | Tubular Steel | 2300## | IEC 61400-22:2010 and IEC 61400-1:2005 +AMD1:2010 IEC WT Class S IIIB | No | 2022-09-14 | Senvion 2.3 M120 | ISO 9001:2015 | 2021-07-12 | Senvion ISO
16 | M/s. Siva Wind Turbine India Private Limited, 12/A, Kandapalayam, Perundurai-638052 Erode District, Tamil Nadu Phone No. 04294-220017 Email: mani@sivaploymers.com | 2005-02-28 | Siva CoI | No | SIVA 250/50 | 30 | 50 | Lattice | 250 | IEC 61400-22:2010 and IEC 61400-1:2005 +AMD1:2010 | No | 2023-02-21 | Siva 250/50 | ISO 9001:2015 | 2020-06-21 | Siva ISO
17 |  |  |  |  | SIVA 225/40 | 30 | 50 | Lattice | 225 | IEC 61400-22:2010 and IEC 61400-1:2005 +AMD1:2010 | No | 2023-02-21 | Siva 225/40
18 | M/s. Siemens Gamesa Renewable Power Private Limited No. 334, The Futura IT Park, B-Block, 8th Floor, Old Mahabalipuram Road, Sholinganallur, Chennai - 600 119 Phone: 044 - 39242424 Fax: 044-30060661 email:rkymal@gamesacorp.com | 2006-05-06 | Gamesa CoI | Siemens Gamesa Renewable Energy Innovation and Technology, S.L, Spain | G97-2.0MW 50Hz | 97 | 104/108 | Tubular Steel | 2000 | IEC S Class (IEC 61400-22:2010) | No | 2022-03-16 | G97-2.0MW TC | ISO 9001: 2015 | 2021-07-13 | Gamesa ISO
19 |  |  |  |  | G97-2.0MW 50Hz | 97 | 90/104/108 | Tubular Steel | 2000 | IEC S Class (IEC 61400-22:2010) | No | 2022-03-16 | G97-2.0MW TC
20 |  |  |  |  | G114-2.0MW | 114 | 106/110 (with a pedestal) | Tubular Steel | 2000 | IEC S Class (IEC 61400-22:2010) | No | 2021-07-22 | G114-2.0MW TC
21 |  |  |  |  | SG 2.1-122 Rotor Blade Type SGRE 122 CS /LM 60.0 P 108 m / 127 m HH IEC WT class S | 122 | 108/ 127 | Tubular Steel | 2100 | IEC S Class (IEC 61400-22:2010) | No | 2023-05-24 | SG2.1-122TC
22 |  |  |  |  | SG 2.2-122 | 122 | 108/127 | Tubular Steel | 2200 | IECRE IEC S Class (IEC 61400-1:2005 + Amd 1:2010) | No | 2023-05-24 | SG2.2-122TC
23 | M/s. PASL Wind Solution (P) Limited Plot No. 34-35, Phase-1, G.I.D.C., Vatva, Ahmedabad- 382445 Phone: +91-79-40264747 Fax: +91-79-40264676 email: aajaveri@pwsl.in | 2008-09-23 | PASL Col | No | PWS1800i | 83.64 | 80 | Tubular Steel | 1500 $ | IEC Class II A | No | 2023-05-17 | PWS1800i TC | ISO 9001: 2015 | 2020-09-09 | PASL ISO
24 |  |  |  |  | PWS 1250i (de-rated configuration) | 68 | 74 | Tubular Steel | 1050 | GL 2010 WT Class IIA | No | 2021-02-16 | PWS1250iTC
25 |  |  |  |  | PWS 900i, 800.0 kW, P-28, HH 71.0m, IEC wind class IIA | 58 | 71 | Tubular Steel | 800 | GL 2010 | No | 2023-09-03 | PWS900i-TC
26 | M/s. Nordex India Private Limited (Formerly known as M/s. Acciona Wind Power India Pvt. Ltd.) C1-001, Tower C, Ground floor, The Millenia , No. 1 & 2, Murphy Road, Ulsoor, Banglore - 560008 Phone: 080-4091660 Fax: 080-40916661 Email: pvittal@nordex-online.com | 26/09/2018 | Nordex-COI | Nordex Energy Spain S.A.U, Spain | AW125/3000 IEC IIb TH120 AW61.2-2 50 Hz | 125 | 120 | Tubular Reinforcement Concrete Tower | 3000 | GL 2010 WT Class IIB | No | 2023-11-11 | AW125-TC | ISO 9001: 2015 | 2021-08-13 | Nordex-ISO
27 |  |  |  |  | AW140/3000 IEC S TH120 AW 68.7 50 Hz | 140 | 120 | Tubular Reinforcement Concrete Tower | 3000# | GL 2010 WT Class S | No | 2023-11-12 | AW140-TC
28 | M/s. Para Enterprises Pvt. Ltd. (Formerly Pioneer Wincon Pvt. Ltd.) Tamarai, Tech park, 7th Floor, 16-20A, (SP developed plots), Jawahar Lal Nehru Salai, Industrial Estate, Gundi, Chennai, Tamil Nadu - 600032 Phone : 044 - 43414700 Email: ps@pioneerwincon.com ramu@pioneerwincon.com | 2015-09-06 | Para-CoI | No | Pioneer Wincon 750/49, 750.0 kW, HT24, HH 61.5 & 75.0m, IEC IIIB | 49.17 | 61.5/ 75 | 4- legged Lattice Steel Tower with tower top adapter | 750 | IEC 61400-22:2010 | No | 2023-05-23 | Pioneer 750/49- TC | ISO 9001: 2015 | 2021-03-05 | Para-ISO
29 |  |  |  |  | Pioneer Wincon 750/57, 750.0 kW, PW28, HH 75.0m, IEC wind class IIIA | 57 | 75 | 4- legged Lattice Steel Tower with Tower Top Adapter | 750 | IEC 61400-22:2010 | Yes | 2020-12-05 | Pioneer 750/57-TC
30 | M/s Pioneer Wincon Energy Systems Pvt. Ltd. Tamarai, Tech park, 7th Floor, 16-20A, (SP developed plots), Jawahar Lal Nehru Salai, Industrial Estate, Gundi, Chennai, Tamil Nadu - 600032 Phone : 044 - 43414728 Email: ps@pioneerwincon.com ramu@pioneerwincon.com | 21/9/2018 | PWES-CoI | No | Pioneer Wincon 750/49, 750.0 kW, HT24, HH 61.1m & 75.3m, IEC IIIA | 49 | 61.1 / 75.3 | Lattice Steel Tower | 750 | IEC 61400-22:2010 and IEC 61400-1:2005 +AMD1:2010 | No | 2024-01-29 | PW750TC | ISO 9001: 2015 | 2022-03-31 | PWES-ISO
Note: This RLMM list has been prepared with the available documents / information furnished by the wind turbine manufacturers for the wind turbine models being manufactured by them. State Electricity Boards, TRANSCOs, State Nodal Agencies, Developers and any party referring this RLMM list shall verify complete type approval / certificate of the models listed above including ISO certificate for verification of validity period, detailed specifications, power curve and all the other relevant information including its legal implications. Also refer the renewed Type Certificate / ISO certificate for the validity period above than the period mentioned.
*WTG model can operate with Power output upto 2.2 MW under Enhanced Performance mode as per the Type Certificate.
** The validity of the Type Certificate has been limited to 17.03.2021 (though the Type Certificate has the validity till 29.07.2025) in view of expiry of component certificate mentioned in the Type Certificate.
$ Only ABB make generator and ABB make converter shall be used
$$ M/s. Regen Powertech Pvt. Ltd. is undergoing the Corporate Insolvency Resolution Process (CIRP)
##As per information provided by M/s. Senvion Wind Technology Pvt. Ltd., Senvion GmbH, Germany has filed for debtor-in-possession (d.i.p.) proceedings on 9 April 2019, in accordance with laws of Germany
#Only ELIN (model no. HRL-071 Z06) and Siemens AG (model no. DFIG-JPRA-630LR-06A) generators shall be used
Disclaimer: Inclusion of any wind turbine manufacturer and wind turbine model in RLMM list is based on the documents and information furnished by the respective company and it does not amount to certification or recommendation in any manner including suitability, usability etc., of the wind turbine models included in the list. Nevertheless, MNRE shall in no way be responsible or liable for any consequences including technical, commercial, operational, environmental and legal implications that may arise due to the usage of the list by any party at any time. The responsibility for the usage, verification of complete documents and consequences thereof lies entirely with the user.