CPWD–6 FOR e-TENDERING

The Executive Engineer (E) Chandigarh, CPWD, Chandigarh on behalf of the President of India invites online Percentage Rate Bids from in two bid system (Part- I Eligibility / Pre-Qualification Bid & Part- II Price Bid) through E-Tendering process from the Specialized agencies/firms fulfilling the eligibility criteria as per Annexure-A for for the following work:

Providing Solar Photo Voltaic Generation System of 100kWP at Census of India, Sector 19, Chandigarh.

The enlistment of the contractors should be valid on the last date of submission of bids.

In case the last date of submission of bid is extended, the enlistment of contractor should be valid on the original date of submission of bids.

  - The work is estimated to cost Rs. 61,06,000/-. This estimate, however, is given merely as a rough guide.

1.1.1 	The value of executed works shall be brought to current costing level by enhancing the actual value of work at simple rate of 7% per annum, calculated from the date of completion of the work to previous day of last date of submission of bids. In case the work certificate submitted in compliance of above condition is a composite one, certificate from the Client shall be submitted for the different components.

1.2	Criteria of eligibility for submission of bid documents:

- The enlistment of the CPWD contractors in appropriate class in composite category should be valid on the last of submission of bids.

- In case the last date of submission of bid is extended, the enlistment of contractor should be valid on the original date of submission bids.

- Agreement shall be drawn with the successful bidder on prescribed Form No. CPWD-7 amended up to date which is available as a Govt. of India Publication and sample also available on website www.cpwd.gov.in . Bidder shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

- The time allowed for carrying out the work will be 03 Months from the date of start as defined in schedule ‘F’ or from the first date of handing over of the site, whichever is later, in accordance with the phasing, if any, indicated in the bid documents.

- The site for the work is available in phased manner.

- The bid document consisting of plans, specifications, schedule of quantities of various types of items to be executed and set of terms & conditions of the contract to be complied with and other necessary documents can be seen on website www.tenderwizard.com/CPWD or www.cpwd.gov.in  or www.eprocure.gov.in free of cost.

- After submission of the bid, the contractor can re-submit revised bid any number of times but before last time and date of submission of bid as notified.

- While submitting the revised bid, contractor can revise the quoted percentage any number of times, but before last time and date of submission of bid, as notified.

- Earnest Money of NIL (Self-declaration Proforma to be submitted as Proforma-A) in the form of Treasury Challan or Demand Draft or Pay order or Banker‘s Cheque or Deposit at Call Receipt or Fixed Deposit Receipt (drawn in favour of Executive Engineer (E), Chandigarh Central Electrical Division, CPWD, Chandigarh payable at Chandigarh shall be scanned and uploaded to the e-Tendering website within the period of bid submission. The original EMD should be deposited either in the office of Executive Engineer inviting bids or division office of any Executive Engineer, CPWD within the period of bid submission.

The EMD receiving Executive Engineer (including NIT issuing EE/AE) shall issue a receipt of deposition of earnest money deposit to the bidder in a prescribed format (enclosed) uploaded by tender inviting EE in the NIT.

A part of earnest money is acceptable in the form of bank guarantee also. In such case, minimum 50% of earnest money or Rs. 20 lac, whichever is less, shall have to be deposited in shape prescribed above, and balance may be deposited in shape of Bank Guarantee of any scheduled bank having validity for six months or more from the last date of receipt of bids which is to be scanned and uploaded by the intending bidders.

- Copy of Enlistment Order and certificate of work experience and other documents as specified in NIT shall be scanned and uploaded to the e-Tendering website within the period of bid submission. However, certified copy of all the scanned and uploaded documents as specified in NIT shall have to be submitted by the lowest bidder only along with physical EMD of the scanned copy of EMD uploaded within a week physically in the office of tender opening authority. Online bid documents submitted by intending bidders shall be opened only of those bidders, whose original EMD deposited with any division of CPWD and other documents scanned and uploaded are found in order.

- The contractor registered prior to 01.04.2015 on e-tendering portal of CPWD shall have to deposit tender processing fee at existing rates or they have option to switch over to the new registration fee any time.

The bid submitted shall be opened on 14/05/2021 at 5.30 PM

11.  	The bid submitted shall become invalid if:

- The bidder is found ineligible.

- The bidder does not deposit original EMD with division office of any Executive Engineer, CPWD.

- The bidder does not upload scanned copies of all the documents stipulated in the bid document.

- If any discrepancy is noticed between the documents as uploaded at the time of submission of bid and hard copies as submitted physically by the lowest bidder in the office of tender opening authority.

- If a tenderer quotes nil rates against each item in item rate tender or does not quote any percentage above / below on the total amount of the tender or any section / sub head in percentage rate tender, the tender shall be treated as invalid and will not be considered as lowest tenderer.

12. 	The contractor whose bid is accepted will be required to furnish performance guarantee of 3% (Three Percent) of the bid amount within the period specified in Schedule F. This guarantee shall be in the form of cash (in case guarantee amount is less than Rs. 10,000/-) or Deposit at Call receipt of any scheduled bank/Banker’s cheque of any scheduled bank/Demand Draft of any scheduled bank/Pay order of any Scheduled Bank (in case guarantee amount is less than Rs. 1,00,000/-) or Government Securities or Fixed Deposit Receipts or Guarantee Bonds of any Scheduled Bank or the State Bank of India in accordance with the prescribed form. In case the contractor fails to deposit the said performance guarantee within the period as indicated in Schedule ‘F’ including the extended period, if any, the Earnest Money deposited by the contractor shall be forfeited automatically without any notice to the contractor. The earnest money deposited along with bid shall be returned after receiving the aforesaid performance guarantee. The contractor whose bid is accepted will also be required to furnish either copy of applicable licenses / registrations or proof of applying for obtaining labour licenses, registration with EPFO, ESIC and BOCW Welfare Board including Provident Fund Code No. if applicable and also ensure the compliance of aforesaid provisions by the sub-contractors, if any engaged by the contractor for the said work and Programme Chart (Time and Progress) within the period specified in Schedule F.

13. 	The description of the work is as follows:

Providing Solar Photo Voltaic Generation System of 100kWP at Census of India, Sector 19, Chandigarh.

Intending Bidders are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their bids as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their bid. A bidder shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charge consequent on any misunderstanding or otherwise shall be allowed. The bidder shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract documents. Submission of a bid by a bidder implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant, etc. will be issued to him by the Government and local conditions and other factors having a bearing on the execution of the work.

14.	The competent authority on behalf of the President of India does not bind itself to accept the lowest or any other bid and reserves to itself the authority to reject any or all the bids received without the assignment of any reason. All bids in which any of the prescribed condition is not fulfilled or any condition including that of conditional rebate is put forth by the bidders, shall be summarily rejected.

15. 	Canvassing whether directly or indirectly, in connection with bidders is strictly prohibited and the bids submitted by the contractors who resort to canvassing will be liable to rejection.

16. 	The competent authority on behalf of President of India reserves to himself the right of accepting the whole or any part of the bid and the bidders shall be bound to perform the same at the rate quoted.

17. 	The contractor shall not be permitted to bid for works in the CPWD Circle (Division in case of contractors of Horticulture/Nursery category) responsible for award and execution of contracts, in which his near relative is posted as Divisional Accountant or as an officer in any capacity between the grades of Chief Engineer and Junior Engineer (both inclusive). He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives to any gazette officer in the Central Public Works Department or in the Ministry of Housing & Urban Affairs. Any breach of this condition by the contractor would render him liable to be removed from the approved list of contractors of this Department.

18. 	No Engineer of Gazetted rank or other Gazetted Officer employed in Engineering or Administrative duties in an Engineering Department of the Government of India is allowed to work as a contractor for a period of one year after his retirement from Government service, without the previous permission of the Government of India in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found any time to be such a person who had not obtained the permission of the Government of India, as aforesaid, before submission of the bid or engagement in the contractor’s service.

19.	The bid for the works shall remain open for acceptance for a period of 75 days from the date of opening of bid. If any bidder withdraws his bid before the said period or issue of letter of acceptance, whichever is earlier, or makes any modifications in the terms and conditions of the bid which are not acceptable to the department, then the Government shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid. Further the bidders shall not be allowed to participate in the rebidding process of the work.

20.	This Notice Inviting bid shall form a part of the contract document. The successful bidder/contractor, on acceptance of his bid by the Accepting Authority, shall, within 15 days from the stipulated date of start of the work, sign the contract consisting of:-

- The Notice Inviting bid, all the documents including additional conditions, specifications and drawings, if any, forming the bid as issued at the time of invitation of bid and acceptance thereof together with any correspondence leading thereto.

- Standard CPWD Form-7 or other Standard CPWD Form as applicable.

21.	List of documents to be scanned and uploaded within the period of bid submission:

  - Certificates of Work Experience.

  - Solvency Certificate OR Networth Certificate

  - Affidavit as mentioned in Annexure-A.

  - Any other Document as specified in the press notice.

  - Self-declaration Proforma for EMD to be submitted as Proforma-A

  - GST Registration Certificate of the State in which the work is to be taken up, if already obtained by the bidder.

If the bidder has not obtained GST registration in the state in which the work is to be taken up, then in such a case the bidder shall upload following undertaking with the bid document

“lf work is awarded to me, I/we shall obtain GST registration Certificate of the State, in which work is to be taken up, within one month from the date of receipt of award letter or before release of any payment by CPWD, whichever is earlier, failing which I/We shall be responsible for any delay in payments which will be due towards me/us on a/c of the work executed and/ or for any action taken by CPWD or GST department in this regard.”

  - Certificate of Financial Turnover:-At the time of submission of bid contractor may upload Affidavit / Certificate from CA mentioning Financial Turnover of last 3 years or for the period as specified in the bid document and further details if required may be asked from the contractor after opening of PQ bids. There is no need to upload entire voluminous balance sheet.

  - Electrical contractor licence OR undertaking that they will either obtain valid electrical licence at the time of execution of electrical work or associate contractor having valid electrical licence of appropriate class.

  - Any other document as specified in the NIT.

Executive Engineer (Elect.) Chd.,

Central P.W.D., Chandigarh

INFORMATION AND INSTRUCTIONS FOR BIDDERS FOR e-TENDERING FORMING PART OF BID DOCUMENT

The Executive Engineer (Electrical) Chandigarh, CPWD, Chandigarh (Ph. No. 0172-2747655) on behalf of the President of India invites online bids from in two bid system (Part- I Eligibility / Pre-Qualification Bid & Part- II Price Bid) through E-Tendering process from the Specialized agencies/firms fulfilling the under mentioned eligibility criteria for the following work:

| NIT No. | Name of work & Location | Estimated cost put to bid | Earnest Money | Period of Completion | Last date & time of submission of bid, copy of receipt of deposition of original EMD, and other documents as specified in NIT | Time & date of opening of Bid |
| --- | --- | --- | --- | --- | --- | --- |
| 12/2021-22/CCED/Chandigarh/Div | Providing Solar Photo Voltaic Generation System of 100kWP at Census of India, Sector 19, Chandigarh. | Rs. 61,06,000/- | NIL (Self-declaration Proforma to be submitted as Proforma-A) | 03 Months | Upto 5.00 PM on 14/05/2021 | At 5.30 PM on 14/05/2021 |

1.	The Specialized agencies/ firms satisfying the eligibility criteria of the work shall be eligible to apply. Joint Ventures are not accepted.

  - The firm should have satisfactorily completed the works as mentioned below during the last seven years ending last day of the month of April, 2021.

Three similar works each of value not less than 48.85 lacs OR Two similar works each costing not less than 36.64 Lacs  OR one similar work costing not less than 24.42 Lacs

Similar work shall mean work of “SITC of Solar Photo Voltaic Generation System Work”

The value of executed works shall be brought to current costing level by enhancing the actual value of work at simple rate of 7% per annum calculated from the date of completion to last date of submission of PQ bid.

b.	The firm should have had average annual Financial Turnover of minimum Rs. 30.53 lacs on above similar work during the last 3 consecutive financial year. For this purpose average annual financial turnover shall be worked out by considering turnover of 3 years ending 31.03.2020.

c.	Solvency Certificate or Networth Certificate:

The firm should have a solvency of Rs. 24.42 Lakhs certified by his bankers.

(Not required if applicant is a Class-I/I(A)/I(AA)/I(AAA)/I(Super)(Composite) category registered contractor of CPWD)

OR

Networth Certificate of minimum of Rs. 6.11 Lacs issued by the certified Chartered Accountant.

d.	The firm should not have incurred any loss (Profit after tax should be positive) in more than 2 years during the last five years ending 31.03.2020.

The firm should submit the attested copies of completion certificate issued by the officer not below the rank of Executive Engineer of department where firm has executed similar work. Incomplete certificate shall be summarily rejected. The completion certificate must clearly indicate the following (originals shall be produced for verification, if required).

i)	The date of completion of work

ii)	Nature and value of the work

iii)	That the work has been completed satisfactorily

iv)	Work done amount of completion certificate

In addition to this the tenderer has to submit an Affidavit as under:-

“I/We undertake and confirm that eligible similar works(s) has/have not been got executed through another contractor on back to back basis. Further that, if such a violation comes to the notice of Department, then I/we shall be debarred for associated agency in CPWD in future forever.”

2.	The intending bidder must read the terms and conditions of CPWD-6 carefully. He should only submit his bid if he consider himself eligible and he is in possession of all the documents required.

3. 	Information and Instructions for bidders posted on website shall form part of bid document.

4. 	The bid document consisting of plans, specifications, the schedule of quantities of various types of items to be executed and the set of terms and conditions of the contract to be complied with and other necessary documents can be seen and downloaded from website www.tenderwizard.com/CPWD or www.cpwd.gov.in free of cost.

5.	But the bid can only be submitted after deposition of original EMD either in the office of Executive Engineer inviting bids or division office of any Executive Engineer, CPWD within the period of bid submission and uploading the mandatory scanned documents such as Demand darft or Pay order or Bankers Cheque or Deposit at call Receipt or Fixed Deposit Receipts and Bank Guarantee of any scheduled Bank towards EMD in favour of Executive Engineer as mentioned in NIT, receipt for deposition of original EMD to division office of any Executive Engineer (including NIT issuing EE/ AE), CPWD and other documents as specified.

6. 	Those contractors not registered on the website mentioned above, are required to get registered beforehand. If needed they can be imparted training on online bidding process as per details available on the website.

7. 	The intending bidder must have valid class-III digital signature to submit the bid.

8. 	On opening date, the contractor can login and see the bid opening process. After opening of bids he will receive the competitor bid sheets.

9. 	Contractor can upload documents in the form of JPG format and PDF format.

10. 	Contractor must ensure to quote rate in the prescribed column(s) meant for quoting rate in figures appears in pink colour and the moment rate is entered, it turns sky blue.

In addition to this, while selecting any of the cells a warning appears that if any cell is left blank the same shall be treated as “0”. Therefore, if any cell is left blank and no rate is quoted by the bidder, rate of such item shall be treated as “0” (ZERO).

However, If a tenderer quotes nil rates against each item in item rate tender or does not quote any percentage above/below on the total amount of the tender or any section / sub head in percentage rate tender, the tender shall be treated as invalid and will not be considered as lowest tenderer.

11. 	SC/ST contractors enlisted under class V category are exempted from processing fee payable to ITI.

12. 	Integrity pact of the tender document shall be signed between Engineer-in-Charge and the successful bidder after acceptance of the tender.

13.		List of documents to be scanned and uploaded within the period of bid submission:

- Certificates of Work Experience.

- Solvency Certificate OR Networth Certificate

- Affidavit as mentioned in Annexure-A.

- Any other Document as specified in the press notice.

- Self-declaration Proforma for EMD to be submitted as Proforma-A

- GST Registration Certificate of the State in which the work is to be taken up, if already obtained by the bidder.

If the bidder has not obtained GST registration in the state in which the work is to be taken up, then in such a case the bidder shall upload following undertaking with the bid document

“lf work is awarded to me, I/we shall obtain GST registration Certificate of the State, in which work is to be taken up, within one month from the date of receipt of award letter or before release of any payment by CPWD, whichever is earlier, failing which I/We shall be responsible for any delay in payments which will be due towards me/us on a/c of the work executed and/ or for any action taken by CPWD or GST department in this regard.”

- Certificate of Financial Turnover:-At the time of submission of bid contractor may upload Affidavit / Certificate from CA mentioning Financial Turnover of last 3 years or for the period as specified in the bid document and further details if required may be asked from the contractor after opening of PQ bids. There is no need to upload entire voluminous balance sheet.

- Electrical contractor licence OR undertaking that they will either obtain valid electrical licence at the time of execution of electrical work or associate contractor having valid electrical licence of appropriate class.

- Any other document as specified in the NIT.

Executive Engineer (Elect.)Chd,

Central P.W.D., Chandigarh.

GOVERNMENT OF INDIA

CENTRAL PUBLIC WORKS DEPARTMENT

STATE        : Chandigarh (UT)						DIVISION	: EE(E)Chd.

BRANCH   : E & M							SUB-DIVISION	: CCESD-II

Percentage Rate Tender & Contract for Works

Tender for the work of:-

“Providing Solar Photo Voltaic Generation System of 100kWP at Census of India, Sector 19, Chandigarh”

To be submitted online by As per Annexure ‘A’ to the Executive Engineer(E) Chandigarh, CPWD, Chandigarh.

(ii)	To be downloaded in presence of tenderers/their authorized representative who may be present at As per Annexure ‘A’  in the office of the Executive Engineer(E) Chandigarh, CPWD, Chandigarh.

Issued to :……….. … … …… … … … ..… … … …… … … … … … … … …… …

(Contractor)

Signature of officer issuing the documents ……..… … … … …  … …  … … … … …  …

Designation                               Executive Engineer (E) Chandigarh,

Date of Issue  … ….… … … … …… … …… … … … … …  … … …… … … … … … … ….

T  E  N  D  E  R

I/We have read and examined the notice inviting tender, schedule, A, B, C, D, E & F, Specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, clauses of contract, Special conditions, Schedule of Rate & other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work.

I/We hereby tender for the execution of the work specified for the President of India as per time schedule of mile stone(s) and within the time specified in Schedule ‘F’, viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions and in clause 11 of the Conditions of contract and with such materials as are provided for, by, and in respects in accordance with, such conditions so far as applicable.

We agree to keep the tender open for 30 (thirty) Days / Seventy Five (75) days from the due date of its opening/ seventy five days from the date of opening of financial bid in case tenders are invited on 2/3 envelope system (Strike out as the case may be) and not to make any modifications in its terms and conditions.

A sum of NIL (Self-declaration Proforma to be submitted as Proforma-A) is hereby forwarded in cash/receipt treasure challan/deposit at call receipt of a scheduled bank/ fixed deposit receipt of scheduled bank/demand draft of a scheduled bank/bank guarantee issued by a scheduled bank as earnest money. If I/we, fail to furnish the prescribed performance guarantee within prescribed period, I/we agree that the said President of India or his successors in office shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money absolutely. Further, if I/we fail to commence work as specified, I/we agree that President of India or his successors in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money and the performance guarantee absolutely, otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered, upto maximum of the percentage mentioned in Schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provision contained in Clause 12.2 and 12.3 of tender form. Further, I/we agree that in case of forfeiture of earnest money or both Earnest Money & Performance Guarantee as aforesaid, I/We shall be debarred for participation in the re-tendering process of the work.

I/We undertake and confirm that eligible similar works (s) has/have not been got executed through another contractor on back to back basis. Further that, if such a violation comes to the notice of Department, then I/we shall be debarred for tendering in CPWD in future forever. Also, if such a violation comes to the notice of Department before date of start of work, the Engineer-in-Charge shall be free to forfeit the entire amount of Earnest Money Deposit/Performance Guarantee”

I/We hereby declare that I/We shall treat the tender documents, drawings and other records connected with the work as secret/confidential documents and shall not communicate information/derived there from to any person other than a person to whom I/We am/are authorised to communicate the same or use the information in any manner prejudicial to the safety of the state.

Dated	    	  					Signature of Contractor

Witness:	   						Postal Address

Address:

Occupation:

A C C E P T A N C E

The above tender (as modified by you as provided in the letters mentioned hereunder) is accepted  by  me  for  and  on  behalf  of  the President of India for a sum of Rs … … … … … … ………… (Rupees … … … … … … … … … … … … … … … … … … … … … … … … … … ……...… ..)

The letters referred to below shall form part of this contract Agreement:-

i)

… … … … … … … … 		.

ii)

iii)

For & on behalf of the President of India.

Signature ………..………………..

Dated………….								Designation  ……………………..

S C H E D U L E S

SCHEDULE ‘A’

Schedule of quantities (Enclosed)

As per financial Bid.

SCHEDULE ‘B’

Schedule of materials to be issued to the contractor.

| S.No. | Description of item | Quantity | Rates in figures & words at which the material will be charged to the contractor | Place of Issue |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |

------------------------------------NIL ---------------------------------

SCHEDULE ‘C’

Tools and plants to be hired to the contractor.

| Sl. No. | Description | Hire charges per day | Place of Issue |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |

_____________________ NIL _____________________

SCHEDULE ‘D’

Extra schedule for specific requirements/documents for the work, if any.

_____________________ NIL ____________________

SCHEDULE ‘E’

Reference to General Conditions of contract 2020 (original works) corrected upto date.

“Providing Solar Photo Voltaic Generation System of 100kWP at Census of India, Sector 19, Chandigarh”

Estimated cost of work:		Rs. 61,06,000/-

Earnest money :			NIL (Self-declaration Proforma to be submitted as  Proforma-A)

Performance Guarantee:		3% of Tendered Value

Security Deposit :			2.5% of Tendered Value

| SCHEDULE ‘F’ |
| --- |
| General Rules & Directions: |
| Officer inviting tender | Executive Engineer(E)Chd. CPWD, Chandigarh. |
| Maximum percentage for quantity of items of work to be executed beyond which rates are to be determined inaccordance with Clauses 12.2 & 12.3 | see under Clause 12 |
| Definitions: |
| 2(v) Engineer-in-Charge | Executive Engineer(E)Chd., CPWD, Chandigarh. |
| 2(viii) Accepting Authority | Executive Engineer(E)Chd., CPWD, Chandigarh. |
| 2(x) Percentage on cost of materials and labour to cover all overheads and profits | 15% |
| 2(xi) Standard schedule of Rates | DSR 2019 and Prevailing labour rates & market rates. |
| 2(xii) Department | Central Public Works Department. |
| 9(ii) Standard CPWD contract form | CPWD 7 as per General conditions of contract for CPWD works 2020 (Original works) modified & corrected upto date. |
| Clause 1 i) | Time allowed for Submission of performance guarantee, Programme Chart (Time and Progress) and applicable labour licenses, registration with EPFO, ESIC and BOCW Welfare Board or proof of applying thereof from the date of issue of letter of acceptance | 15 Days. |
| ii) | Maximum allowable extension with late fee @0.1% per day of Performance Guarantee amount beyond the period provided in (i) above | 07 Days |
| Clause 2 | Authority for fixing compensation under clause 2. | SE(Chandigarh), CPWD, Chandigarh. |
| Clause 2A | Whether clause 2A shall be applicable | No |
| Clause 5 | Number of days from the date of issue of letter of acceptance for reckoning date of start | 22 Days |

Mile stone (s) as per table given below:-

TABLE OF MILE STONE(S)

| SI No. | Financial Progress | Time Allowed (from date of start) | Amount to be withheld in case of non- achievement of milestone |
| --- | --- | --- | --- |
| 1. | 1/8th (of Whole work) | 1/4th (of whole time) | In the event of not achieving the necessary progress as assessed from the running payments 1% of the tendered value of work will be withheld for failures of each milestone. |
| 2. | 3/8th (of Whole work) | 1/2th (of whole time) |  |
| 3. | 3/4th (of Whole work) | 3/4th (of whole time) |  |
| 4. | Full | Full |  |

Time allowed for execution of work	:					03 Months

| Authority to Decide: |
| --- |
| Extension of time | Executive Engineer(E)Chd., CPWD, Chandigarh. |
| Rescheduling of mile stones | N.A. |
| Clause 6, 6A | Clause applicable – (6 or 6A) | Clause 6A |
| Clause 7 | Gross work to be done together with net payment/ adjustment of advances for material collected, if any, since the last such payment for being eligible to interim payment. | Rs. 15.26 Lakh |
| Clause 7A | No Running Account Bill shall be paid for the work till the applicable labour licenses, registration with EPFO, ESIC and BOCW Welfare Board, whatever applicable are submitted by the contractor to the Engineer-in-Charge | Clause 7A Applicable/ Not Applicable |
| Clause 10A | List of testing equipment to be Provided by the contractor at site lab |  |
| -----------------Nil----------------- -----------------Nil----------------- -----------------Nil----------------- | 4.-----------------Nil---------------- 5.-----------------Nil---------------- 6.-----------------Nil---------------- |
| Clause10B(ii) | Whether clause 10-B(ii) shall be applicable | No |
| Clause 10C | Component of labour expressed as percent of value of work | N/A |
| Clause 10CA | Whether clause 10CA shall be Applicable. | No |
| Materials covered under this clause | Nearest material for which All India Wholesale Price Index is to be followed | Base price of all material covered under Clause 10 CA |
| --------Nil------------ --------Nil------------ --------Nil------------ | ------------------Nil---------------------------------------------Nil---------------------------------------------Nil----------------------- | ---------------- Nil----------------- -----------------Nil----------------- -----------------Nil----------------- |
| Clause 10CC | Clause 10CC to be applicable in contracts with stipulated period of completion exceeding the period shown in next column : | 18 Months (Eighteen Months) |
| Schedule of component of cement, steel, other materials, Labour etc. for price escalation: |
| CLAUSE 10 CC Not admissible. Component of cement-expressed as percent of total value of work. | ‘Xc’ Nil % |
| Component of steel-expressed as percent of total value of work. | ‘Xs’ Nil % |
| Component of civil (except cement & steel) / Electrical construction materials-expressed as percent of total value of work. | ‘Xm’ Nil % |
| Component of labour-expressed as percent of total value of work. | ‘Y’ Nil % |
| Component of P.O.L.-expressed as percent of total value of work. | ‘Z’ Nil % |
| Clause 11 | Specifications to be followed CPWD General specifications for electrical works Part-I (Internal) & CPWD General specifications for electrical works Part-II (External) and CPWD Specification for HVAC, amended upto date & other terms & condition enclosed. |
| Clause 12 – Type of work (Project & Original Work OR Maintenance work i/c upgradation, aesthetic, special repair, addition/ alteration) |
| 12.2 & 12.3 | Deviation limit beyond which clauses 12.2 & 12.3 shall apply for electrical work. | 100% on individual items |
| 12.5 | Deviation limit beyond which clauses 12.2 and 12.3 shall apply for foundation work. | ---------Not Applicable------- |
| Clause 16 | Competent Authority for deciding reduced rates. | SE (Chandigarh), CPWD, Chandigarh |
| Clause 18 | List of mandatory machinery, tools & plants to be deployed by the contractor at site. | As required for timely execution of work |

Clause 25

| Constitution of Dispute Redressal Committee (DRC) | Competent Authority to appoint DRC |
| --- | --- |
| DRC shall constitute one Chairman and two members | Chief Engineer or Additional Director General if there is no Chief Engineer |

Clause 36 (i) Requirement of Technical Representative (S) and Recovery Rate.

| Sl. No | Minimum Qualification of Technical Representative | Discipline | Designation (Principal Technical / Technical representative) | Minimum experience | Number | Rate at which recovery shall be made from the contractor in the event of not fulfilling provision of clause 36(i) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Figures | Words |
| 1. | Graduate Engineer or Diploma Engineer | Elect. | Principal Technical Representative | 2Years or 5Years | 1 No. | Rs. 15000/- Per Month | Rs. Fifteen Thousand Per Month. |

Assistant Engineers retired from Government services that are holding Diploma will be treated at par with Graduate Engineers.

Clause 42

i) (a)	Schedule/statement for determining

theoretical quantity of cement &

bitumen on the basis of Delhi

Schedule of Rates 2007 printed by C.P.W.D.

ii) 	Variations permissible on theoretical quantities.

a)	Cement for works with estimated cost put to	 	NIL.

tender not more than Rs.5 lakhs

for works with estimated cost put to			2% plus/minus.

tender more than Rs.5 Lakhs.

b)	Bitumen for all works.					2.5% plus only & nil

on minus side.

c)	Steel Reinforcement and structural steel

sections for each diameter, section and 		2% plus/minus.

category.

d)	All other materials.				Nil.

RECOVERY RATES FOR QUANTITIES BEYOND PERMISSIBLE VARIATION

______________________________________________________________________________

Sl.		Description of Item		Rates in figures and words at which

No.						recovery shall be made from the Contractor.

________________________________________________________________________	_____

Excess beyond			Less use beyond		permissible variation		the permissible variation.

______________________________________________________________________________

1.           Cement			Nil				Not Allowed

2.	 Steel reinforcement		Nil				Not Allowed

_____________________________________________________________________________

GUIDELINES REGARDING SIGNING OF INTEGRITY PACT BY THE BIDDER AT THE TIME OF SUBMISSION OF BID (Vide No. DG/CON/255A dated 10.08.2011)

Sub: 	Clarification regarding Introduction of Integrity Pact introduced vide OM No. CON 255 dated 23.05.2011

A new provision of Integrity Pact (IP) was introduced in GCC-2010 vide OM No. CON/255 dt. 23.05.2011. In the OM it is mentioned that at the time of submission of bid, it shall be mandatory to sign the pact by the bidder failing which the bidder will stand disqualified from the tendering process and such bid would be summarily rejected.

Some fields Units have raised their doubts regarding submission of duly signed Integrity Pact by the bidder at the time of submission of bid. In this regard it is clarified that:

- Submission of duly signed Integrity Pact by the bidder is applicable in case of manual tendering where e-tendering is not followed.

- In case of manual tendering Executive Engineer should sign the first page addressed to the intending bidder at the time of issue of tender form and before submission of the bid, each bidder shall sign IP at respective places and submit the bid. If duly signed IP is not submitted by the bidder, such bid shall not be considered.

- In case of e-tendering, Integrity Pact shall be treated in the same manner as other components of the bid document. In e-tendering, the intending bidder does not sign any document physically and entire bid document is submitted through digital signature. Since IP is a part of bid document no separate physical submission is required with other documents to be submitted in the office of tender opening authority. In addition to other component of bid document, the Integrity Pact along shall also be signed between Executive Engineer and successful bidder after acceptance of bid.

INTEGRITY PACT

To,

…………………………….

…………………………….

…………………………….

…………………………….

Sub: 	NIT No. ………./2021-22/CCED/Chandigarh/Div for the work “Providing Solar Photo Voltaic Generation System of 100kWP at Census of India, Sector 19, Chandigarh”

Dear Sir,

It is here by declared that CPWD is committed to follow the principle of transparency, equity and competitiveness in public procurement. The subject Notice Inviting Tender (NIT) is an invitation to offer made on the condition that the Bidder will sign the integrity Agreement, which is an integral part of tender/bid documents, failing which the tenderer/bidder will stand disqualified from the tendering process and the bid of the bidder would be summarily rejected.

This declaration shall form part and parcel of the Integrity Agreement and signing of the same shall be deemed as acceptance and signing of the Integrity Agreement on behalf of the CPWD.

Yours faithfully

Executive Engineer

INTEGRITY PACT

To,

The Executive Engineer (E) Chandigarh,

CPWD, Chandigarh.

Sub: 	Submission of Tender for the work of “Providing Solar Photo Voltaic Generation System of 100kWP at Census of India, Sector 19, Chandigarh”

Dear Sir,

I/We acknowledge that CPWD is committed to follow the principles thereof as enumerated in the Integrity Agreement enclosed with the tender/bid document.

I/We agree that the Notice Inviting Tender (NIT) is an invitation to offer made on the condition that I/We will sign the enclosed integrity Agreement, which is an integral part of tender documents, failing which I/We will stand disqualified from the tendering process. I/We acknowledge that THE MAKING OF THE BID SHALL BE REGARDED AS AN UNCONDITIONAL AND ABSOLUTE ACCEPTANCE of this condition of the NIT No. ……../2021-22/CCED/Chandigarh/Div

I/We confirm acceptance and compliance with the Integrity Agreement in letter and spirit and further agree that execution of the said Integrity Agreement shall be separate and distinct from the main contract, which will come into existence when tender/bid is finally accepted by CPWD. I/We acknowledge and accept the duration of the Integrity Agreement, which shall be in the line with Article 1 of the enclosed Integrity Agreement.

I/We acknowledge that in the event of my/our failure to sign and accept the Integrity Agreement, while submitting the tender/bid, CPWD shall have unqualified, absolute and unfettered right to disqualify the tenderer/bidder and reject the tender/bid is accordance with terms and conditions of the tender/bid.

Yours faithfully

(Duly authorized signatory of the Bidder)

To be signed by the bidder and same signatory competent / authorized to sign the relevant contract on behalf of CPWD.

INTEGRITY AGREEMENT

This Integrity Agreement is made at ............... on this ........... day of ........... 20......

BETWEEN

President of India represented through Executive Engineer, .................................,

(Name of Division)

CPWD, ......................................................................., (Hereinafter referred as the

(Address of Division)

‘Principal/Owner’, which expression shall unless repugnant to the meaning or context hereof include its successors and permitted assigns)

AND

.............................................................................................................

(Name and Address of the Individual/firm/Company)

through .................................................................... (Hereinafter referred to as the

(Details of duly authorized signatory)

“Bidder/Contractor” and which expression shall unless repugnant to the meaning or context hereof include its successors and permitted assigns)

Preamble

WHEREAS the Principal / Owner has floated the Tender (NIT No.................................) (hereinafter referred to as “Tender/Bid”) and intends to award, under laid down organizational procedure, contract for ............................. .............................................hereinafter referred to as the “Contract”.

(Name of work)

AND WHEREAS the Principal/Owner values full compliance with all relevant laws of the land, rules, regulations, economic use of resources and of fairness/transparency in its relation with its Bidder(s) and Contractor(s). AND WHEREAS to meet the purpose aforesaid both the parties have agreed to enter into this Integrity Agreement (hereinafter referred to as “Integrity Pact” or “Pact”), the terms and conditions of which shall also be read as integral part and parcel of the Tender/Bid documents and Contract between the parties.

NOW, THEREFORE, in consideration of mutual covenants contained in this Pact, the parties hereby agree as follows and this Pact witnesses as under:

Article 1: Commitment of the Principal/Owner

1) 	The Principal/Owner commits itself to take all measures necessary to prevent corruption and to observe the following principles:

(a) No employee of the Principal/Owner, personally or through any of his/her family members, will in connection with the Tender, or the execution of the Contract, demand, take a promise for or accept, for self or third person, any material or immaterial benefit which the person is not legally entitled to.

(b) The Principal/Owner will, during the Tender process, treat all Bidder(s) with equity and reason. The Principal/Owner will, in particular, before and during the Tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential / additional information through which the Bidder(s) could obtain an advantage in relation to the Tender process or the Contract execution.

(c) The Principal/Owner shall endeavor to exclude from the Tender process any person, whose conduct in the past has been of biased nature.

2)	If the Principal/Owner obtains information on the conduct of any of its employees which is a criminal offence under the Indian Penal code (IPC)/Prevention of Corruption Act, 1988 (PC Act) or is in violation of the principles herein mentioned or if there be a substantive suspicion in this regard, the Principal/Owner will inform the Chief Vigilance Officer and in addition can also initiate disciplinary actions as per its internal laid down policies and procedures.

Article 2: Commitment of the Bidder(s)/Contractor(s)

- It is required that each Bidder/Contractor (including their respective officers, employees and agents) adhere to the highest ethical standards, and report to the Government / Department all suspected acts of fraud or corruption or Coercion or Collusion of which it has knowledge or becomes aware, during the tendering process and throughout the negotiation or award of a contract.

- The Bidder(s)/Contractor(s) commits himself to take all measures necessary to prevent corruption. He commits himself to observe the following principles during his participation in the Tender process and during the Contract execution:

  - The Bidder(s)/Contractor(s) will not, directly or through any other person or firm, offer, promise or give to any of the Principal/Owner’s employees involved in the Tender process or execution of the Contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange any advantage of any kind whatsoever during the Tender process or during the execution of the Contract.

  - The Bidder(s)/Contractor(s) will not enter with other Bidder(s) into any undisclosed agreement or understanding, whether formal or informal. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to cartelize in the bidding process.

  - The Bidder(s)/Contractor(s) will not commit any offence under the relevant IPC/PC Act. Further the Bidder(s)/Contract(s) will not use improperly, (for the purpose of competition or personal gain), or pass on to others, any information or documents provided by the Principal/Owner as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.

  - The Bidder(s)/Contractor(s) of foreign origin shall disclose the names and addresses of agents/ representatives in India, if any. Similarly, Bidder(s)/Contractor(s) of Indian Nationality shall disclose names and addresses of foreign agents/representatives, if any. Either the Indian agent on behalf of the foreign principal or the foreign principal directly could bid in a tender but not both. Further, in cases where an agent participate in a tender on behalf of one manufacturer, he shall not be allowed to quote on behalf of another manufacturer along with the first manufacturer in a subsequent/parallel tender for the same item.

  - The Bidder(s)/Contractor(s) will, when presenting his bid, disclose any and all payments he has made, is committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the Contract.

- The Bidder(s)/Contractor(s) will not instigate third persons to commit offences outlined above or be an accessory to such offences.

- The Bidder(s)/Contractor(s) will not, directly or through any other person or firm indulge in fraudulent practice means a willful misrepresentation or omission of facts or submission of fake/forged documents in order to induce public official to act in reliance thereof, with the purpose of obtaining unjust advantage by or causing damage to justified interest of others and/or to influence the procurement process to the detriment of the Government interests.

- The Bidder(s)/Contractor(s) will not, directly or through any other person or firm use Coercive Practices (means the act of obtaining something, compelling an action or influencing a decision through intimidation, threat or the use of force directly or indirectly, where potential or actual injury may befall upon a person, his/ her reputation or property to influence their participation in the tendering process).

Article 3: Consequences of Breach

Without prejudice to any rights that may be available to the Principal/Owner under law or the Contract or its established policies and laid down procedures, the Principal/Owner shall have the following rights in case of breach of this Integrity Pact by the Bidder(s)/Contractor(s) and the Bidder/ Contractor accepts and undertakes to respect and uphold the Principal/Owner’s absolute right:

- If the Bidder(s)/Contractor(s), either before award or during execution of Contract has committed a transgression through a violation of Article 2 above or in any other form, such as to put his reliability or credibility in question, the Principal/Owner after giving 14 days notice to the contractor shall have powers to disqualify the Bidder(s)/Contractor(s) from the Tender process or terminate/determine the Contract, if already executed or exclude the Bidder/Contractor from future contract award processes. The imposition and duration of the exclusion will be determined by the severity of transgression and determined by the Principal/Owner. Such exclusion may be forever or for a limited period as decided by the Principal/Owner.

- Forfeiture of EMD/ Performance Guarantee/Security Deposit: If the Principal/Owner has disqualified the Bidder(s) from the Tender process prior to the award of the Contract or terminated/determined the Contract or has accrued the right to terminate/determine the Contract according to Article 3(1), the Principal/Owner apart from exercising any legal rights that may have accrued to the Principal/Owner, may in its considered opinion forfeit the entire amount of Earnest Money Deposit, Performance Guarantee and Security Deposit of the Bidder/Contractor.

- Criminal Liability: If the Principal/Owner obtains knowledge of conduct of a Bidder or Contractor, or of an employee or a representative or an associate of a Bidder or Contractor which constitutes corruption within the meaning of IPC Act, or if the Principal/Owner has substantive suspicion in this regard, the Principal/Owner will inform the same to law enforcing agencies for further investigation.

Article 4: Previous Transgression

- The Bidder declares that no previous transgressions occurred in the last 5 years with any other Company in any country confirming to the anticorruption approach or with Central Government or State Government or any other Central/State Public Sector Enterprises in India that could justify his exclusion from the Tender process.

- If the Bidder makes incorrect statement on this subject, he can be disqualified from the Tender process or action can be taken for banning of business dealings/ holiday listing of the Bidder/Contractor as deemed fit by the Principal/ Owner.

- If the Bidder/Contractor can prove that he has resorted / recouped the damage caused by him and has installed a suitable corruption prevention system, the Principal/Owner may, at its own discretion, revoke the exclusion prematurely.

Article 5: Equal Treatment of all Bidders/Contractors/Subcontractors

- The Bidder(s)/Contractor(s) undertake(s) to demand from all subcontractors a commitment in conformity with this Integrity Pact. The Bidder/Contractor shall be responsible for any violation(s) of the principles laid down in this agreement/Pact by any of its Subcontractors/ sub-vendors.

- The Principal/Owner will enter into Pacts on identical terms as this one with all Bidders and Contractors.

- The Principal/Owner will disqualify Bidders, who do not submit, the duly signed Pact between the Principal/Owner and the bidder, along with the Tender or violate its provisions at any stage of the Tender process, from the Tender process.

Article 6- Duration of the Pact

This Pact begins when both the parties have legally signed it. It expires for the Contractor/Vendor 12 months after the completion of work under the contract or till the continuation of defect liability period, whichever is more and for all other bidders, till the Contract has been awarded. If any claim is made/lodged during the time, the same shall be binding and continue to be valid despite the lapse of this Pacts as specified above, unless it is discharged/determined by the Competent Authority, CPWD.

Article 7- Other Provisions

- This Pact is subject to Indian Law, place of performance and jurisdiction is the Head quarters of the Division of the Principal/Owner, who has floated the Tender.

- Changes and supplements need to be made in writing. Side agreements have not been made.

- If the Contractor is a partnership or a consortium, this Pact must be signed by all the partners or by one or more partner holding power of attorney signed by all partners and consortium members. In case of a Company, the Pact must be signed by a representative duly authorized by board resolution.

- Should one or several provisions of this Pact turn out to be invalid; the remainder of this Pact remains valid. In this case, the parties will strive to come to an agreement to their original intensions.

- It is agreed term and condition that any dispute or difference arising between the parties with regard to the terms of this Integrity Agreement / Pact, any action taken by the Owner/Principal in accordance with this Integrity Agreement/ Pact or interpretation thereof shall not be subject to arbitration.

Article 8- LEGAL AND PRIOR RIGHTS

All rights and remedies of the parties hereto shall be in addition to all the other legal rights and remedies belonging to such parties under the Contract and/or law and the same shall be deemed to be cumulative and not alternative to such legal rights and remedies aforesaid. For the sake of brevity, both the Parties agree that this Integrity Pact will have precedence over the Tender/Contact documents with regard any of the provisions covered under this Integrity Pact. IN WITNESS WHEREOF the parties have signed and executed this Integrity Pact at the place and date first above mentioned in the presence of following witnesses:

...............................................................

(For and on behalf of Principal/Owner)

.................................................................

(For and on behalf of Bidder/Contractor)

WITNESSES:

1. ..............................................

(signature, name and address)

2. ...............................................

(signature, name and address)

Place:

Dated :

PROFORMA-A

Proforma for Earnest Money Deposit Declaration

Whereas, I/We …………………… (name of agency) ………………………. have submitted bids for ……………………… (name of work) …………………………….

I/We hereby submit following declaration in lieu of submitting Earnest Money Deposit.

(1) 	If after the opening of tender, I/We withdraw or modify my/our bid during the period of validity of tender (including extended validity of tender) specified in the tender documents.

Or

(2) 	If, after the award of work, I/We fail to sign the contract, or to submit performance guarantee before the deadline defined in the tender documents.

I/We shall be suspended for one year and shall not be eligible to bid for CPWD tenders from date of issue of suspension order.

Signature of the contractor(s)

| SCHEDULE OF WORK |
| --- |
| Name of work:- Providing Solar Photo Voltaic Generation System of 100kWP at Census of India, Sector 19, Chandigarh. |
| S.No | Description | Qty | Unit | Rate | Amount |
| 1 | Supply, Installation, Testing and Commissioning of ongrid Solar Photovoltaic Power Plant conforming to MNRE specifications as amended, consisting of Mono/Poly Crystalline silicon solar cells, net metering facility, necessary protections, earthing, mounted on Aluminium/GI structure of suitable strength with following components complete as required:- |  |  |  |  |  |
| a) | Solar Photovoltaic Module of capacity 435 Wp or above, manufactured in India, conforming to IS 14286/IEC 61215, IS/IEC 61730-Part-1, IS/IEC 61730-Part-2. Solar Photovoltaic Module conversion efficiency shall not be less than 20%. PV modules used in solar power plants/ systems must be warranted for their output peak watt capacity, which should not be less than 90% at the end of 10 years and 80% at the end of 25 years. |  |  |  |  |  |
| b) | Power Conditioning Unit (PCU) of 350-800 V DC Input voltage range and 400 V AC, three phase, 4 wire, 50Hz +/- 2.5 Hz, output voltage suitable to generate AC Power with efficiency not less than 97%, total harmonic distortion less than 3% and suitable for ambient temperature from 0 to 50 degree C. The PCU shall adjust the voltage and frequency level to suit the Grid Voltage Frequency. |  |  |  |  |  |
| c) | Data Monitoring System complete with accessories. |  |  |  |  |  |
| d) | Fixing of Array junction box & Main junction box with IP 65 protection and termination arrangement for incoming and outgoing cable along with glands, lugs and other accessories etc. as required. |  |  |  |  |  |
| e) | Lightning and surge voltage protection. |  |  |  |  |  |
| f) | Power Optimizer: Power Optimizer/ module level MPPT for energy output optimization, module level monitoring and DC safety features |  |  |  |  |  |
| g) | Connections & Interconnections by supplying & fixing required size XLPE insulated copper conductor 1.1 kV grade armoured power and control cables between solar modules, main power cable to grid supply PCU unit along with supplying & fixing of necessary channel/conduit lugs and other accessories etc. as required. | 100 | Kwp | 61060.00 | Kwp | 6106000.00 |
|  | Total | 6106000.00 |

Executive Engineer (Elect.) Chd.,

Central P.W.D., Chandigarh

GENERAL AND COMMERCIAL CONDITIONS

1.0	GENERAL

1.1 	This specification covers manufacture, testing as may be necessary before dispatch, delivery at site, all preparatory work, assembly and installation, commissioning putting into operation of Interactive Grid Solar PV System consisting of all cabling, earthing and final testing etc. at Census Building, Sector 19, Chandigarh.

1.2 	Location: The Interactive Grid Solar PV Power Plant will be installed at Census Building, Sector 19, Chandigarh.

1.3 	The work shall be executed as per CPWD General Specifications for Electrical Works Part – I, II,  IV and VII as amended up to date, relevant I.E. Rules, BIS/IEC and as per directions of Engineer-in-charge. These additional specifications/ conditions are to be read in conjunction with above and in case of variations; specifications given in the in the contract shall apply. However, nothing extra shall be paid on account of these additional specifications and conditions, as the same are to be read along with schedule of quantities for the work. In case of discrepancy between the BOQ, List of Makes, Tech. Specifications, Drawings etc the following order of preference shall be observed,:-

1. BOQ 	2. List of Makes	 3. Technical Specifications	4. Drawings

5. CPWD General Specifications 	 6. IS/ IEC/International Codes

1.4 	The tenderer should, in its own interest, visit the site and get familiarized with the site conditions before tendering.

1.5 	No T & P shall be issued by the Department and nothing extra shall be paid on account of this.

1.6 	Type of Contract: The work to be awarded by this tender shall be treated as indivisible works contract.

1.6.1	The tenderers are advised not to deviate from the technical specifications items, commercial terms and conditions of NIT like terms of payment, guarantee, arbitration clause, escalation etc.

1.6.2	The department reserves the right to reject any of all the price bids and call for fresh prices/ tenders as the case may be without assigning any reason.

1.6.3	The lowest tenderer shall submit before supply of material an undertaking from OEM (of SPV system) regarding

    - Authorization Certificate

    - The OEM shall unconditionally support the lowest tenderer technically throughout the execution of contract as well as for Maintenance / Comprehensive Maintenance Contract for the useful of life of the system, and

    - OEM shall provide all the spares required for healthy functioning of the equipment for atleast 7 years from the date of supply of equipment.

2.0 	TERMS OF PAYMENTS

The following percentage of contract rates for the various items included in the contract shall be payable against the stage of work shown herein.

- 70%  after initial inspection & delivery at site in good condition on pro-rata basis (for major items of SPV plant).

- 15% after completion of installation in all respects.

- Balance 15% will be paid after testing, commissioning and handing over to the department for beneficial use.

- Works to be carried out by CPWD

Unless otherwise mentioned in the tender specifications, the following works shall be carried out by the department.

(a)	Space for accommodating all the equipments and components involved in the work. However, watch and ward shall be responsibility of the contractor till completion & final handing over to department.

4.0	Works to be done by the contractor

In addition to supply, installation, testing and commissioning of all the equipments, as per schedule of work, and specifications, the following works shall be deemed to be included within the scope of work to be executed by the contractor. Nothing will be paid extra on this account.

- Tools and tackles required for handling and installation of equipments.

- Protection required for the equipments from rain, dust storm etc. during transportation i.e. polythene cover and tarpaulin till completion & handing over to department.

- Necessary equipments for commissioning/site testing.

- Supplying & Laying of suitable size copper conductor armoured control and power cable from SPV modules, main power cable to PCU units etc. i/c S&F of PVC channel steel conduit etc.

- Making arrangement of electricity and water required for installation.

- Providing cement & concrete foundation and GI structure for the solar pv modules as per manufacturer standard and approved drawing by the department.

- Minor building work i/c repairing/ closing of all holes for cable entry etc. complete as reqd.

5.0	RATES

The tender is for entering into item rate works contract. The rates shall be inclusive of all taxes, duties, levies, cess, packing, transportation, handling etc. The tendered rates should also include charges for installation, testing, commissioning etc. at site including temporary construction of storage. Service tax if any, shall be reimbursed by the department on production of proof of its payment by the contractor.

5.1 	The contractor has to carry out maintenance as per manufacturer’s standards for a period of 12 months from the date of handing over for which nothing extra shall be paid.

6.0 	COMPLETENESS OF TENDER

All sundry equipments, fittings, unit assemblies, accessories, hardware items, foundation, foundation bolts, painting, termination lugs for electrical connections, and all other items which are useful and necessary for efficient assembly and installation of equipment and components of the work shall be deemed to have been included in the tender irrespective of the fact whether such items are specifically mentioned in the tender documents or not.

7.0 	STORAGE AND CUSTODY OF MATERIALS

The Sub Station room may be used for storage of sundry materials and erection equipments or else the agency has to make its own arrangements. No separate storage accommodation shall be provided by the department. Watch and ward of the stores and their safe custody shall be the responsibility of the contractor till the final taking over of the installation by the department.

8.0 	CARE OF THE BUILDING

Care shall be taken by the contractor while handling and installing the various equipments and components of the work to avoid damage to the building. He shall be responsible for repairing all damages and restoring the same to their original finish at his cost. He shall also remove at his cost all unwanted and waste materials arising out of the installation from the site of work.

9.0 	COMPLETION PERIOD

The completion period indicated in the tender documents is for the entire work of planning, designing, approval of drawings etc., arrangement of materials & equipments, delivery at site including transportation, installation, testing, commissioning and handing over of the entire system to the satisfaction of the Engineer-in-charge.

10.0	 GUARANTEE

10.1 	All equipments shall be guaranteed for a period of 12 months, from the date of taking over the installation by the department, against unsatisfactory performance and/or break down due to defective design, workmanship or material. The equipments or components, or any part thereof, so found defective during guarantee period shall be forthwith repaired or replaced free of cost, to the satisfaction of the Engineer-in- Charge. In case it is felt by the department that undue delay is being caused by the contractor in doing this, the same will be got done by the department at the risk and cost of the contractor. The decision of the Engineer-in-charge in this regard shall be final & building on the contractor.

10.2 	The tenderer shall guarantee among other things, the following:

(a) 	Quality, strength and performance of the materials used as per manufacturers standards.

(b) 	Safe mechanical and electrical stress on all parts under all specified conditions of operation.

(c) 	Satisfactory operation during the maintenance period.

11.0 	POWER SUPPLY/ WATER SUPPLY

A temporary three phase power supply shall be provided during execution of work, at single point inside the campus. Further arrangements for tapping power connection from this point shall be made by the contractor. Electricity shall be provided free of cost.

Water supply shall be made available by the department at one point in Campus free of cost.

12.0 	ACCEPTABLE MAKES OF VARIOUS EQUIPMENTS

The acceptable makes of various equipments/components/accessories have been indicated in the List of Acceptable Makes of equipments/ materials”. The tenderer shall work out the cost of the offer on this basis. Alternate makes are not acceptable and tender with any other make (s) shall be rejected.

13.0 	DATA MANUAL AND DRAWINGS TO BE FURNISHED BY THE TENDERER.

13.1 	With Tender: The tenderer shall furnish alongwith the tender, detailed technical literature, pamphlets and performance data for appraisal and evaluation of the offer.

13.2 	After award of work

The successful tenderer would be required to submit the following drawings for approval of the department.

(a)	General arrangement drawing of the equipments

(b)	Single line diagram.

(c)	Schematic drawing including all safety interlocking.

(d)	Details of foundations for the equipments and the weights of assembled equipments.

(e)	Equipment details proposed to be procured for the execution of the work for the approval of the Engineer-in-charge.

(f)	Any other drawings necessary for the job.

The successful tenderer should furnish well in advance three copies of detailed instructions and manuals of manufacturer’s for all items of equipments regarding installation, adjustments, operation and maintenance including preventive maintenance & trouble shooting together with all the relevant data sheets, spare parts catalogue etc. all in triplicate

14.0 	The successful tenderer should furnish well in advance three copies of detailed instructions and manuals of manufacturer’s for all items of equipments regarding installation, adjustments, operation and maintenance including preventive maintenance & trouble shooting together with all the relevant data sheets, spare parts catalogue etc. all in triplicate.

15.0 	EXTENT OF WORK

15.1 	The work shall comprise of entire labour including supervision and all materials necessary to make a complete installation and such tests and adjustments and commissioning, as may be required by the department. The term complete installation shall not only mean major items of the plant and equipments covered by specifications but all incidental sundry components necessary for complete execution and satisfactory performance of installation with all layout charts whether or not those have been specifically mentioned in bill of quantity in the tender document. However, major equipment not covered in the scope of the work and required subsequently as an additional feature, not covered in the contract specifications, shall be paid extra. The decision of the engineer-in-charge in the matter shall be final and binding upon the contractor.

16.0 	INSPECTION AND TESTING

16.1 	Copies of all manufacturer’s routine and type test, certificates of the equipments shall be furnished to the inspecting officer at the time of inspection at the factory.

17.0 	COMPLIANCE WITH REGULATIONS AND INDIAN STANDARDS

17.1 	All works shall be carried out in accordance with relevant regulation, both statutory and those specified by the Indian Standards related to the works covered by this specification. In particular, the equipment and installation will comply with the following:

(i) 	Factories Act.

(ii) 	Indian Electricity Rules.

(iii) 	B.I.S. & other standards as applicable.

(iv) 	Workmen’s compensation Act.

(v) 	Statutory norms prescribed by local bodies like CEA, Power Supply Co., CPCB as amended upto date. etc.

17.2 	Nothing in this specification shall be construed to relieve the successful tenderer of his responsibility for the design, manufacture and installation of the equipment with all accessories in accordance with currently applicable statutory regulations and safety codes.

17.3 	Successful tenderer shall arrange for compliance with statutory provisions of safety regulations and departmental requirements of safety codes in respect of labour employed on the work by the tenderer. Failure to provide such safety requirement would make the tenderer liable for penalty of Rs 5000/- (Rs Five Thousand only) for each default. In addition, the department will be at liberty to make arrangement for the safety requirements at the cost of tenderer and recover the cost thereof from him.

19.0 	ERECTION TOOLS

No tools and tackles either for unloading or for shifting the equipments for erection purposes would be made available by the department. The successful tenderer shall make his own arrangement for all these facilities.

20.0 	COOPERATION WITH OTHER AGENCIES

The successful tenderer shall co-ordinate with other contractors and agencies engaged in the construction of buildings, if any, and exchange freely all technical information so as to make the execution of this work/contract smooth. No remuneration should be claimed from the department for such technical cooperation. If any unreasonable hindrance is caused to other agencies and any completed portion of the work has to be dismantled and re-done for want of cooperation and coordination by the tenderer during the course of work, such expenditure incurred will be recovered from the successful tenderer if the restoration work to the original condition or specification of the dismantled portion of the work was not undertaken by the tenderer himself.

21.0 	The work will be carried out with least disturbance during shifting & shut down taken in consultation with the client department.

22.0 	MOBILIZATION ADVANCE

No mobilization advance shall be paid to the contractor.

23.0 	INSURANCE AND STORAGE

All consignments are to be duly insured up to the destination from warehouse at the cost of the contractor. The insurance covers shall be valid till the equipment is handed over duly installed, tested and commissioned.

24.0	VERIFICATION OF CORRECTNESS OF EQUIPMENT AT DESTINATION

The contractor shall have to produce all the relevant records to certify that the genuine equipments from the manufacturers has been supplied and erected.

25.0 	PAINTING

This shall include cost of painting of the entire installation. The major equipments shall be factory final finish painted. The agency shall be required to do only touching to the damages caused to the painting during transportation, handling & installation at site, if there is no major damage to the painting. However hangers, supports etc. of bus trunking shall be painted with required shade including painting with two coats of anticorrosive primer paint at site.

26.0 	TRAINING

The scope of works includes the on job technical training of two persons of department at site. Nothing extra shall be payable on this account.

27.0 	MAINTENANCE

27.1 	Sufficient trained and experienced staff shall be made available to meet any exigency of work during the guarantee period of 12 months from the handing over of the installation.

27.2 	The maintenance, routine as well as preventive, for 12 months from the date of taking over the installation as per manufacturer’s recommendation shall be carried out on quarterly basis. The work shall cover all routine and breakdown maintenance.

27.3 	Experienced and Trained Engineer should also be made available as & when required during the guarantee period.

28.0 	INTERPRETING SPECIFICATIONS

In interpreting the specifications, the following order of decreasing importance shall be followed in case of contradictions:

(a) 	Schedule of quantities

(b) 	Technical specifications

(c) 	Drawing (If any)

(d) 	General Specifications

(e) 	Relevant BIS or other international code in case BIS code is not available

TECHNICAL SPECIFICATIONS FOR WORK

1.	GENERAL SCHEME & SCOPE

1.1	This document contains the requirement of Solar Photo Voltaic (SPV) power supply Grid Tied System for general light load. The light loads are to be used for illumination of the office/room/commercial place inside the campus. Suitable size of solar photovoltaic system is to be installed at each location and has to be feed the electric load of all the office/room/commercial place light load at that location. The power conditioning unit (PCU) shall be Grid Tied,i.e. with a priority for use of Solar power for light load and if the solar power becomes inadequate due to sun outage or the fault in solar generation system then Main/grid supply shall be used for light load.

1.2	Terrace of building is available at each location and the same shall be used for Installation of the solar modules/arrays. The PCU shall be installed inside the Building as per the availability of space in the building/terrace.

1.3	The scope of work include designing and providing suitable size of Grid Tied solar power system, PCU (power conditioning unit), all measuring devices, indication devices, protection Devices switching devices with all necessary wiring, cabling mounting structure on terrace of building and any other item needed for proper functioning and protection of system from external/internal causes & from all kind of surges etc. the system be designed with sound engineering and state of the art manner.

2.	DEFINITION

A Grid Connected Solar Rooftop Photo Voltaic (SPV) power plant consists of SPV array, Module Mounting Structure, Inverter/Power Conditioning Unit (PCU) consisting of Maximum Power Point Tracker (MPPT), and Controls & Protections, interconnect cables and switches. PV Array is mounted on a suitable structure. Grid connected SPV power plant is without battery and should be designed with necessary features to supplement the grid power during day time. Components and parts used in the SPV power plants including the PV modules, metallic structures, cables, junction box, switches, inverters/PCUs etc., should conform to the BIS or IEC or international specifications, wherever such specifications are available and applicable.

3.	GRID TIED SPV POWER SUPPLY SYSTEM :

Grid tie solar inverters are suited for outdoor use and the ideal solution for small commercial building rooftop and other application. The inverters provide a wide maximum point power tracking (MPPT) voltage range on EU efficiency of 97%.

4.	SITE LAYOUT DESIGN:

The contractor will submit his layout design for SPV module including its structure details to Engineer in charge for approval prior before start of work. The contractor should visit the site before quoting the tender to have idea of the site related preparation to be included in their offer.

5.		(A) SPV MODULE/ARRAY:

Solar Photo Voltaic Generating Sources: SPV generating sources constituted of following building blocks:

SPV Module:	SPV Module is the basic building block of the SPV power supply, which consists of a number of Solar cells (a Semiconductor Devices which when exposed to sunlight produces DC electricity) connected in series and hermetically sealed with a toughened and highly transparent front glass cover. These modules are connected in series and parallel to get the desired power and voltage. The Rated DC current of One module shall be 330WP or higher.

SPV Panel: SPV Modules of same rating are connected in series to form a SPV panel to get the desired voltage.

SPV Array: A number of panels are connected in parallel to get the desired power. This Whole combination is called an array. The SPV array is so designed that, it provides simultaneously meets the load demand, when sufficient Sunshine is available.

Design Features: The mechanical design and construction of SPV modules, panels and mounting structure shall be inherently robust and rigid under all conditions of operation, adjustment, storage and transport. Sharp edges shall be avoided.

B)	SOLAR PHOTOVOLTAIC MODULES:

- The efficiency of the PV modules should be minimum 20%.

- Test Certificate issued by one of the IEC authorized test centers.

- Modules of any type mono/poly crystalline film can be used

- The module type must be qualified as per IEC 61215 latest edition. Modules must qualify to IEC 61730 Part I and II for construction and safety qualification testing. Certificate for module qualification from IEC or equivalent to be submitted as part of the bid offer.

- The total solar PV array capacity should not be less than allocated capacity (kWp) and should comprise of solar crystalline modules of minimum 330 Wp and above wattage. Module capacity less than minimum 230 watts shall not be accepted.

- Protective devices against surges at the PV module shall be provided. Low voltage drop bypass diodes shall be provided.

- The module frame shall be made of corrosion resistant materials having anodized aluminum or as per manufacturer standard.

- The bidder shall carefully design & accommodate requisite numbers of the modules to achieve the rated power.

- Other general requirement for the PV modules and subsystems shall be the Following:

- The rated output power of any supplied module shall have tolerance of ± 3%.

- The peak-power point voltage and the peak-power point current of any supplied module and/or any module string (series connected modules) shall not vary by more than 2 (two) per cent from the respective arithmetic means for all modules and/or for all module strings, as the case may be.

- The module shall be provided with a junction box with weather proof lid of sealed type and IP-65 rated.

- Warranties: The PV Modules must be warranted for output wattage, which should not be less than 90% at the end of 10 years and not less than 80% at the end of 25 years.

6.   	SPV MODULES

- SPV Modules to be supplied should have minimum declared output of 330 Wp or higher. Number of Modules to be supplied shall be worked out accordingly. Test reports of the modules should be submitted with the technical bid.

- Stabilized output of the Solar PV Array for the Power Plant should not be less than Calculated Kwp under standard Test Condition. Modules for Power Plant shall be made of poly or mono-crystalline Silicon Solar cells.

- Peak power point voltage and the peak power point current of any supplied module and/or any module string (series connected module )  shall not be more than 3% from the respective arithmetic means for all modules and/or for all module strings, as the case may be.

- Except otherwise specified, the front module surface shall consist of impact resistant, low iron and high transmission glass.

- The module frame shall be made of aluminum or corrosion resistant material, which shall be electrically compatible with the structural material used for mounting the modules.

6.    SOLAR PV MODULE (ELECTRICAL FEATURES)

- Crystalline high power cells shall be used in the Solar Photovoltaic module. Solar Module shall be laminated using laminating technology using established polymer (EVA) and Tedlar/Polyester laminate. The solar modules shall have  suitable encapsulation and sealing arrangement to protect the silicon cells from the environment. The arrangement and the material of encapsulation shall be compatible with thermal expansion properties of the Silicon cells of the module framing arrangement/ material. The encapsulation arrangement shall ensure complete moisture proofing during life of solar modules.

- SPV Module conversion efficiency should be > 16.77% Module shall be made of high transmissivity glass front surface giving high encapsulation gain.

- All materials used shall be having a proven history of reliable and stable operation in external outdoor/indoor applications

- Module rating is considered under standard test conditions, however Solar modules shall be deigned to operated and perform  in relative humidity up to 100% with temperature between-10Deg C and +85 Deg C and with stand guts up to 150Km/h from back side of the panel. The Geological data of Mohali (Pb.) can be referred for design to meet optimum generation.

- Sample modules and production processes employed in the manufacture of the offered module shall be in accordance with the requirement of IEC 61730 with appropriate certificate.

7.    SOLAR PV MODULE (MECHNICAL FEATURES)

Solar pvmodule design shall conform to following Mechanical requirement

- Toughened, low iron content,

- High transmissivity front glass.

- Anodized Aluminum Frame.

- Ethyl vinyl Acetate (EVA) encapsulant.

- Silicon edge sealant around laminate.

- Tedlar/ Polyester trilaminate back surface

- Weatherproof DC rated MC connections easier and secure, not allowing for any loose connections Resistant to water, abrasion, hail impact, humidity & other environment factor for the worst situation at site.

8.	JUNCTION BOXES (JBs):

a)	The junction boxes are to be provided in the PV array for termination of connecting cables. The J. Boxes (JBs) shall be made of GRP/FRP/Powder Coated Aluminum /cast aluminum alloy with full dust, water & vermin proof arrangement. All wires/cables must be terminated through cable lugs. The JBs shall be such that input & output termination can be made through suitable cable glands.

b)	Copper bus bars/terminal blocks should be housed in the junction box with suitable termination threads Conforming to IP65 standard and IEC 62208. Hinged door should be used with EPDM rubber gasket to prevent water entry.

c)	Each Junction Box shall have High quality Suitable capacity Metal Oxide Varistors (MOVs) / surge arrestors and suitable Reverse Blocking Diodes etc. The Junction Boxes shall have suitable arrangement for monitoring and disconnection for each of the groups.

9.         PV ARRAY CONFIGURATION

- The Solar array shall be configured in multiple No. of sub- arrays, providing optimum DC power. The bidder shall submit their own design indicating configuration of PCU and respective sub arrays.

- The PV modules should be mounted on aluminum structures GI/ MS powder coated of adequate strength and appropriate design, which can withstand load of modules and high wind velocities up to 150 km per hour.

- The array structure shall be so designed that it will occupy minimum space without sacrificing the output from the SPV panels

- Regarding civil structures the bidder needs to take care of the load bearing capacity of the roof and to arrange suitable structures based on the quality of roof. The total load of the structure (when installed with PV modules) on the terrace should be less than 60 kg/m2. Suitable civil work for installation of the structure is to be done by the supplier. Civil Structure should be Neat & Clean, with proper alignment and round in shape with emphasis on proper grouting and there should not be leakage, seepage in roof after installation of plant.

10.       MODULE MOUNTING STRUCTURE

The mounting structure would be designed to sustain wind loading of up to 150Kmph and shall be protected by using Eco friendly anticorrosion on structure. The entire structure including array will be earthed to an independent pit with redundant paths. Mounting Structures with fixed/adjustable tilt has been proposed. The Hardware shall be made of SS material or as per manufacturer standard.

- The structure design shall be appropriate and innovative and must follow the existing structure and profile

- Design drawing with material selected shall be submitted for prior approval of engineer in-charge.

- The structure shall be designed to allow easy replacement of any module.

- The structure shall be designed for simple mechanical and electrical installation. It shall support SPV module at a given orientation, absorb and transfer the mechanical loads to the roof properly.

- The array structure shall be so designed that it will occupy minimum space without sacrificing the output from SPV panels at the same time.

- Nut & bolts supporting structure including module Mounting Structures shall have to be adequately protected with atmosphere and weather prevailing in the area; Nut bolts should be especially in SS material.

- The bidder/manufacturer shall specify installation details of the PV modules and the support structures with appropriate diagrams and drawings.

- The drawings along with detailed design shall be submitted in four sets to the engineer- in- charge for approval before starting the execution of work. The work will be carried out as per designs approved by the engineer in-charge.

11.       POWER CONDITIONING UNIT (PCU)

Power Conditioning Unit (PCU) is critical equipment in Grid Connect SPV Power Plant. This equipment converts DC power generated by SPV array, into single phase/three phase medium voltage AC to be connected to Grid. It also provides necessary protections for Grid Synchronization and Data Logging/Monitoring. The DC energy, thus produced  has to be utilized to maximum and supplied to the DC bus for inverting to AC voltage with the help of Power Conditioning Unit using its MPPT (The efficiency of MPPT shall not be less than 94% & shall be designed to meet the Solar PV Array capacity control) to extract maximum energy from solar array and provides 415V AC, 3-ph 50Hz to synchronize with local grid.

- The PCU shall have protection features such as, over current, short circuit, over temperature to name a few.

- The PCU shall be of very high quality having high efficiency (>92%) and shall be capable of running in isolated mode.

- The PCU should be designed to be completely compatible with the SPV array voltage and grid supply voltage.

- The PCU should be designed for continuous, reliable power supply as per specifications.

- The PCU shall have internal protection arrangement against any sustained fault.

- The dimension, weight, foundation details etc. of the PCU shall be clearly indicated in the detailed technical specification.

- It should have user friendly LCD display for programming and view on line parameters such as DC power input, DC input voltage, DC current, AC power output, AC voltage and AC current and Power factor.

- The PCU shall have arrangement for adjusting DC input current and should trip against sustainable fault downstream and shall not start till the fault is rectified.

The Grid connect PCU shall be sourced from internationally reputed firms, which will incorporate latest Technological advances to provide highly reliable and efficient energy conversion from DC to AC. The PCU incorporates a new system design which uses multiple power stacks which work in tandem. The PCU should be Single phase static solid state type power conditioning units/string invertors suitability connected & synchronized to give three phase supply output. Both AC & DC lines shall have suitable fuses/MCBs and contactors to allow safe start up and shut down of the system. Fuses/MCBs used in the DC circuit should be DC rated. The PCU shall have provision for input and output isolation. Each solid-state electronic device shall have to be protected to ensure long life of the inverter as well as smooth functioning of the inverter.

AC side

| Nominal AC power | As per Manufacturer design |
| --- | --- |
| Output AC Voltage | 230V/ 415V with a variation + 10% at nominal voltage |
| Frequency | 50 c/s (Hz) + 5% |
| Total Harmonic Distortion | <3% |
| Under frequency protection | Yes |
| Under Voltage Protection | Yes |

DC Side:

| PV Power | As per Manufacturer design |
| --- | --- |
| Maximum DC Voltage | As per Manufacturer design |
| MPPT voltage range | As per Manufacturer design |
| Maximum DC Current | As per string rating |
| DC over voltage protection | Yes |
| DC Voltage ripple | <3% |
| Minimum Efficiency (CE) | >95% |
| Ambient temperature range | 0-50°C |
| Humidity (non condensing) | 30-95% |
| Degree of protection | IP21 for internal units and IP 66 for outdoor units |
| Dimensions approx (HXWXD | As per Manufacturer design |
| Weight | As per Manufacturer design |

| Recommended LCD Display on Front Panel | Accurate displays on the front panel: |
| --- | --- |
|  | DC input voltage |
|  | DC current |
|  | AC Voltage(all3phases, in case of 3 phase) |
|  | AC current(all3phases in case of 3 phase) |
|  | Ambient temperature |
|  | Instantaneous & cumulative output power |
|  | Daily DC energy produced |
|  | Battery Voltage (in case of Hybrid PCU) |
| Communication interface | RS485/ RS232 PCU shall also house MPPT (Maximum Power Point Tracker), an interface between Solar PV array to the power conditioning unit/inverter should also be DG set interactive |
| Power Factor | > 0.9 |
| Test Certificates | The PCU/ inverters should be tested from the MNRE approved test centres / NABL /BIS /IEC accredited testing- calibration laboratories. In case of imported power conditioning units, these should be approved by international test houses |

12.	INTEGRATION OF PV POWER WITH GRID:

i)		As the proposed solar plant is  without battery bank (i.e. with string inverter), the existing uni-directional meter of the user shall be installed for gross metering of solar generation while a Bi-directional meter shall be installed for net-metering purpose or conditions pertaining to Net Metering Policy of CREST.

ii)	CEA guideline 2013 for interconnecting solar power with Grid shall be followed.

iii)	Certification of Islanding protection in the inverter/PCU from the manufacturer of the equipment shall be mandatory. This shall be arranged by the supplier from the manufacturer.

iv)	Verification report/test report shall be issued by the DISCOM or their authorized agency.

13.    	DATA MONITORING OF POWER PLANT:

- PCU to log the inverter performance data and transmits the same to the Data logger.

- Data logger shall then gather information and monitor the performance of the inverter. It shall also supports measurements from the external sensors. The data can be acquired remotely via modem.

14.        LIGHTNING & OVER VOLTAGE PROTECTION

The SPV Power plant should be provided with Lightning and surge voltage protection connected to proper earth mats.

The Lightning Conductors shall be made as per applicable Indian Standards in order to protect the entire Array Yard/Shed from Lightning stroke. Necessary concrete foundation for holding the lightning conductor in position to be made after giving due consideration to maximum wind speed and maintenance requirement at site in future.

The lightning conductor shall be earthed through flats and connected to the Earth mats as per applicable Indian Standards with earth pits. Each Lightning Conductor shall be fitted with individual earth pit as per required Standards including accessories, and providing masonry enclosure with cast iron cover plate having locking arrangement, watering pipe using charcoal or coke and salt as per required provisions of IS.

The bidder shall ensure adequate lightning protection to provide and acceptable degree of protection as per IS for the array Yard/Shed. If necessary more numbers of Lightning conductors may be provided.

Conductor as per requirements of IS Standards.

All Building earth conductor shall be interconnected through the concept of “Earth Mats” for interconnection with separate earth pits.

For each earth pit, necessary Test Point shall have to be provided.

15.      a) EARTHING SYSTEM

i)	Earthing Protection: Each array structure of the PV yard should be grounded/ earthed properly as per IS:3043-1987. In addition the lighting arrester/masts should also be earthed inside the array field. Earth Resistance shall be tested in presence of the representative of Department as and when required after earthing by calibrated earth tester. PCU, ACDB and DCDB should also be earthed properly. Earth resistance shall not be more than 5 ohms. It shall be ensured that all the earthing points are bonded together to make them at the same potential.

ii)	2 Nos. GI strip of size 25mm x 5mm shall be supplied and fixed as per CPWD specification for earth bus of the sub-station to connect the system within the quoted rates. Nothing extra shall be paid on this account.

b)	AC Distribution Box (ACDB)

i) All switches and the circuit breakers, connectors should conform to IEC 60947, part I, II and III/ IS60947 part I, II and III.

ii) The change-over switches, cabling work, Manual isolation of Inverters/Grid should be undertaken by the bidder as part of the project within quoted rates.

c)	DATA ACQUISITION SYSTEM / PLANT MONITORING (for 35 kWp and above)

i) PV array energy production: Digital Energy Meters to log the actual value of AC/ DC voltage, Current & Energy generated by the PV system shall be provided.

ii) All instantaneous data shall be shown on the computer screen.

iii) The bidder must take approval/NOC from the Concerned DISCOM for the connectivity, technical feasibility, and synchronization of SPV plant with distribution network and submit the same to PMB before commissioning of SPV plant. Nothing extra shall be paid on this account.

d)	PRIORITY FOR POWER CONSUMPTION:

i) Regarding the generated power consumption, in case of string inverter, priority need to given for internal consumption first and thereafter any excess power can be exported to grid.

e)	Grid  Islanding:

i) In the event of a power failure on the electric grid, it is required that any independent power-producing inverters attached to the grid turn off in a short period of time. This prevents the DC-to-AC inverters from continuing to feed power into small sections of the grid, known as “islands.”

Powered islands present a risk to workers who may expect the area to be unpowered, and they may also damage grid-tied equipment. The Rooftop PV system shall be equipped with islanding protection. In addition to disconnection from the grid (due to islanding protection) disconnection due to under and over voltage conditions shall also be provided.

ii) A manual disconnect pole isolation switch beside automatic disconnection to grid would have to be provided at utility end to isolate the grid connection by the utility personnel to carry out any maintenance. This switch shall be locked, if required, by the utility personnel.

16.        PAINTING & FINISH

i.	All metal surfaces shall be thoroughly cleaned of rust, scale, oil, grease, dirt etc. Fabricated structures shall be pickled and then rinsed to remove any trace of acid. The under surface shall be made free from all imperfections before undertaking the finishing coat.

ii	After Phosphate treatment, two (2) coats of yellow zinc chromate primer shall be applied followed by two(2) coats of epoxy based synthetic enameled paint. Shade shall be Siemens Grey RAL – 7032. Thickness of paint shall be not less than 75 micron.

iii.	All unpainted steel parts shall be cadmium plated or suitably treated to prevent rust formation. If these parts are moving elements then they shall be greased.

17.	STANDARDS FOR SOLAR PHOTOVOLTAIC (PV) POWER PLANTS/SYSTEMS

A.         PV MODULES:

The PV modules must conform to the latest edition of any of the following IEC/equivalent BIS standards for PV module design qualification and type approval:

Crystalline Silicon Terrestrial PV modules	:	IEC 61215/ISI 14286

Thin Flim Terrestrial PV modules		:	IEC 61646

Concentrator PV Modules & Assemblies		:	IEC 62108

In addition, the modules must conform to IEC 61730 Part1-requirements for construction & Part2 – requirements for testing, for safety qualification.

PV modules to be used in a highly corrosive atmosphere (coastal areas, etc.) must quality. Salt Mist Corrosion Testing as per IEC 61701.

B.	BALANCE OF SYSTEM (BoS) ITEMS/COMPONENTS:

The BoS items/components of the SPV power plants/systems deployed under the mission must conform to the latest edition of IEC/equivalent BIS standards as specified below:

| BoS Item/component | Applicable IEC/equivalent BIS standard |
| --- | --- |
|  | Standard Description | Standard Number |
| Power conditioner/ Inverters* | Efficiency Measurements Environmental Testing | EN61000–6-3 EN 50178 |
| MPPT units* | Design Qualification Environmental Testing | EN 50178 UL 1741 CSA 107.1 |
| Cables | General test and measuring methods PVC insulated cables for working voltage upto and including 1100 V-Do-UV resistant for outdoor installation | IEC 60189 IS 694 / IS 1554 IS/IEC 69947 |
| Switches/Circuit Breakers/Connectors | General Requirements Connectors - Safety | IS/IEC 60947 part I,II & III EN 50521 |
| Junction Boxes/ Enclosures | General Requirements | IP 65 (for outdoor)/IP 21 (for indoor) IEC 62208 |
| SPV System Design | PV Stand-alone Systems Design verification | IEC 61215 IEC 61730 IEC 61701 |
| Installation Practices | Electrical installation of buildings requirements for SPV power supply systems | IEC 61730 |

*Must additionally conform to the relevant national/international electrical safety standards.

18.	Maintenance Schedule & Guidelines (for one Year during warranty period)

WEEKLY CHECK:

The contractor has to perform the weekly check at site including cleaning of the panel etc

MONTHLY CHECK:

- Inspect the modules//panels of the array for any damage.

- Check the wiring for physical damage & also for any sign of excessive heating.

- Check all the junction Boxes for covers and sealing

- Check the nut-bolts of the mounting structure and array for proper torque & lightening

- Inspect the modules/panels of the array for any damage.

QUARTERLY:

- Check cells for discoloration or breakage.

- Clean the modules/panels of the array for dust if required.

- Check for all the connection and ensure that they are not loose.

- Check & Verify that the array does not come under shadow during 9 to 15 hours.

19.	COMPREHENSIVE MAINTENANCE & OPERATION

- The system will be comprehensively maintained & operated by the contractor free of cost for one year from the date of taking over by the department i.e. during warranty / guaranty period.

- Fortnightly Inspection/ Service of the equipments round the year by a service  engineer covering physical examination of the equipments for healthy & smooth functioning of the equipments/system. Checking of the equipments for their satisfactory operation and performance and rectify the fault/ defects if any.

- Preventive maintenance checks as per the standard recommendation of the preventive maintenance practice of the manufacturer and rectification/replacement of the deteriorated part are also covered in the AMC.

- 24 hours call back service  for fault rectification on lodging of complaint. The fault rectification shall be carried out by skilled staff. All fault rectification shall be done within reasonable time preferably within 24 hrs and all faulty equipments shall be collected from site and repaired equipments delivered at site.

- Replacement/ repair of all the defective parts/ instruments etc including rubber parts.

- Maintenance will also include:-

- Providing on call services for any breakdown and rectification and fault within 24 hours of the reporting of the problem.

- Any delay in attending the complaints after 24 hours of lodging complaint will attract a penalty of Rs. 1000/- per day.

- Travel, boarding, lodging and other incidental expenses of their staff that the successful bidder may need to incur during the course of such repair.

Note : All spare parts, tools and tackles, testing instruments, rubber parts if any etc . are deemed to be included in the scope of comprehensive maintenance contract.

- The maintenance service provided shall ensure proper functioning of the SPV system as a whole to the extent covered in the contract. All preventive/routine maintenance and breakdown/corrective maintenance required for ensuring maximum uptime shall have to be provided.

- The bidder shall submit the preventive/Routine/breakdown maintenance schedule as per their standard practice along with the technical bid. However the scope shall also include activities such as regular cleaning and checking the health of the SPV system, cleaning of module surface, tightening of all electrical connection and any other activity that may be require for proper functioning of the SPV system as a whole.

- During operation if there is any loss or damage of any component of the power plant due to miss management/miss handling or due to any other reasons, what so ever , the contractor shall be responsible for immediate replacement/rectification. The damage component may be repaired, if it is understood after examination that after repairing performance of the components shall not be degraded, otherwise the defective components shall have to be replaced by new one without any extra cost.

- The bidder shall be preserve all recorded data in either manually or through computer and shall submit to CPWD, quarterly.

Executive Engineer (Elect.) Chd.,

Central P.W.D., Chandigarh

LIST OF PREFERRED MAKES FOR SOLAR PV AND SOLAR WATER HEATING SYSTEM

| S.No. | Details of Materials/ Equipment | Make |
| --- | --- | --- |
| A | SOLAR EQUIPMENT |  |
| 1 | SPV Modules | Anchor / CEL / BEL / Tata Power Solar / Havells / PCI |
| 2 | Power Control Unit (PCU) String PCU | Emerson/ Mitsubishi/ Schneider/ ABB/ Delta/ Solar Edge |
| 3 | Optimizer | Teigo / SolarEdge / igrenEnergi/ Delta |
| B. | MEDIUM VOLTAGE EQUIPMENT |  |
| 4 | Power Distribution Panel | Adlec / Associated Switchgears and Projects Ltd/ Tricolite/ Milestone/ Power Associates/ Precision System Control |
| 5 | Moulded Case Circuit Breaker (MCCB) 3&4 Pole With rotary operating mechanism | Schneider Electric (Compact NX)/ ABB (T-Max)/ Larsen & Toubro (D-Sine)/ Siemens ( Sentron-VL)/ GE Power Controls (Record Plus) |
| 6 | MCB / RCCB /RCBO | Schneider Electric (MG)-Multi-9/ ABB / GE Power Controls/ L&T/ Legrand/ Siemens |
| 7 | Power/ Aux. Contractor 3 / 4 Pole | Schneider Electric (Telemechanique)/ ABB/ GE Power Controls/ L&T/ Siemens |
| 8 | Indicating Lamps LED type, Push Button | Schneider Electric (MG)/ Vaishno Electricals/ Larsen & Toubro (ESBEE)/ Siemens |
| 9 | Overload relays with built in Single Phase Preventer | Schneider Electric – TE/ Siemens/ ABB/ Larsen & Toubro/ GE Power Control |
| 10 | Electronic Digital Meters (A/V/PF/HZ/KW/KWII) (Networkable) | Conzerv/ L&T/Secure/Schneider |
| 11 | XLPE insulated PVC sheathed copper conductor Armoured power cable of 1.1 KV grade | Finolex/Polycab/KEI/ Havell’s |
| 12 | LT Jointing Kit/Termination | Raychem/ M Seal |
| 13 | Cable Glands Double Compression with Earthing Links | Comet, Cosmos |
| 14 | Bimettalic/ Copper/ Aluminium Cable Lug | Comet/ Dowell’s(Biller India Pvt. Ltd.)/ Hax Brass (Copper Alloy India Ltd.) |
| 15 | PVC insulated copper conductor stranded flexible FRLS wire (pre twisted) | Finolex/KEI/Polycab/ Havells |
| 16 | M S Conduit (ISI approved) | AKG/BEC/NIC |
| 17 | Cable Trays/ Raceways (Prefabricated) | Profab Engineer/ Ricco/Slotco |
| 18 | Polycarbonate Junction Boxes | Hensel / Clipsal / Sintex |
| 19 | Rubber Mats (ISI Mark) | Jyoti / Premier / Insulatica 2000 |
| 20 | Fastners | Hilti / Fisher |
| 21 | Fire Sealent | Promat / Hilti / Birla 3 M |
| 22 | Cat-6 Cable, Wires & Fiber Optic Cable | AVAYA/Beldon/Molex/ Krone Communication |
| 23 | G.I. Pipe | Tata/ Jindal/ SAIL |
| 24 | Selector Switch, Toggle Switch | Salzer (L&T)/ Siemens/Kaycee |
| 25 | Timer | Siemens/ L&T/ Schneider |
| 26 | Material for Structure | TATA/JINDAL/SAIL |

Executive Engineer (Elect.) Chd.,

Central P.W.D., Chandigarh.